# El Paso County Contracts and Procurement

15 East Vermijo Avenue Colorado Springs, Colorado 80903

REQUEST FOR PROPOSAL #RFP-25-087 COVER SHEET

Release Date						     September 22, 2025

Solicitation Number	RFP-25-087

Solicitation Title	El Paso County Stormwater Master Drainage Plan

Services to be performed for	El Paso County – Department of Public Works – Engineering Division

Responses will be received until			     1:00 P.M., MT, Wednesday, November 5, 2025

Electronically through the Rocky Mountain E-Purchasing System

For additional information please contact	Cody Walters

Associate Procurement Specialist

Email:CodyWalters@elpasoco.com

Phone: (719) 520-6593

Documents included in this package	Request for Proposal Cover Sheet Executive Summary

Specifications

Special Terms and Conditions General Terms and Conditions Response Submittal Requirements Attachments

The undersigned hereby affirms that (1) he/she is a duly authorized agent of the Consultant , (2) he/she has read all terms and conditions and technical specifications which were made available in conjunction with this solicitation and fully understands and accepts them unless specific variations have been expressly listed in his/her offer, (3) that the offer is being submitted on behalf of the Consultant in accordance with any terms and conditions set forth in this document, and (4) that the Consultant will accept any awards made to it as a result of the offer submitted herein for a minimum of ninety calendar days following the date of submission. Offers must contain, in blue ink, a manual signature of an authorized agent of the Consultant or a verifiable electronic time and date stamped signature in the space provided on all appropriate signature lines in this solicitation. Typed names as signatures are not allowed.

PRINT OR TYPE YOUR INFORMATION

Company Name:

Address:	City/State/Zip:

Contact Person:	Title:

Email: 	Phone:

Authorized Representative’s Signature: 		Date:

Printed Name: 	Title:

Email:	Phone:

REQUEST FOR PROPOSAL #RFP-25-087 EXECUTIVE SUMMARY

OFFICIAL SOLICITATION DOCUMENTS: El Paso County officially distributes solicitation documents through the Rocky Mountain E-Purchasing System and the County’s website. Copies of solicitations obtained from any other source are not considered official copies. Only those Consultants who obtain solicitation documents from the Rocky Mountain E-Purchasing System or El Paso County website will be in receipt of officially posted and relevant information regarding solicitations issued by El Paso County. The County cannot be held responsible for incorrect information, nor can it attest to the accuracy of information found on websites other than the Rocky Mountain E-Purchasing System or the County’s website.

PURPOSE OF SOLICITATION: El Paso County is requesting proposals from qualified, experienced, professional Consultants to furnish all services, labor, materials, and equipment necessary for professional services for the El Paso County Stormwater Master Drainage Plan (“The Project”).

There will be El Paso County oversight of the Project.

TERM OF CONTRACT: The awarded contract(s) is estimated to commence on December 16, 2025, and shall remain in effect through December 31, 2026.

OPTION TO RENEW FOR SUBSEQUENT YEARS (MAINTAINING SAME PRICES):  The prices or discounts quoted in this Solicitation shall prevail for term of the contract, at which time the County shall have the option to renew the contract for four additional one-year periods, provided, however, that the Consultant will maintain the same prices or discounts that were awarded during the initial contract.  Continuation of the contract beyond the initial period is a County prerogative and not a right of the Consultant.  This prerogative will be exercised only when such continuation is clearly in the best interest of the County.

The County may consider an adjustment to the pricing structure outside of the option period, if such adjustment would be detrimental to the Consultant.  The Consultant shall submit an immediate request for such an adjustment in writing to the Contracts and Procurement Division and must include detailed justification for the requested adjustment outside of the option period.  This consideration is a County prerogative and there is no guarantee that the request will be accepted outside of the option period.  The County reserves the right to accept, reject or negotiate any price adjustments submitted by the Consultant and/or to terminate the contract with the Consultant based on such price adjustments.

NON-APPROPRIATION: Pursuant to C.R.S.§ 29-1-110, as amended, the financial obligations of the County as set forth herein after the current fiscal year are contingent upon funds being appropriated, budgeted and otherwise available. The awarded agreement will automatically terminate on January 1st of the first fiscal year for which funds are not appropriated. The County shall give the Consultant written notice of such non- appropriation.

SCHEDULE OF ACTIVITIES: The following activities and dates tentatively outline the process to be used to solicit Consultant responses and to review each Consultant Response:

September 22, 2025	Release Request for Proposal

October 1, 2025 @ 3:00 p.m.	RECOMMENDED Pre-Proposal Meeting

October 10, 2025 @ 10:30 a.m.	Deadline for Submitting Questions

November 5, 2025 @ 1:00 p.m.	Response Submission Deadline

November 21, 2025 (estimated)	Issue Notice of Intent to Award

December 16 2025 (estimated)	Contract Award

PRE-SOLICITATION MEETING: A pre solicitation meeting will be held as shown above in the Schedule of Activities, at 2880 International Circle, Colorado Springs, CO 80910. A representative of the Consultant is encouraged to attend this meeting in order to become familiar with the Specifications.

EXAMINATION OF SITE AND CONTRACT DOCUMENTS IS RECOMMENDED: The Consultant is advised to

carefully examine the requirements outlined in the Specifications. It is not the intent of the specifications to cover each and every detail. Any problems that may arise must be promptly reported to the County and will be subject to the decision of the County. The submitter is expected to carefully examine the size and scope of the proposed work prior to submitting its submittal. The Submitter certifies that it has examined the location of the proposed Work and is familiar with the specifications and all contract documents related thereto, and the local conditions at the place where the Work may be performed. The Submitter should carefully check all the quantities and understand that the County will not be responsible for any errors or omissions on the part of the Submitter in making their submittal.

RESPONSE TO QUESTIONS: Questions which arise during the Response preparation period regarding issues around this Solicitation, purchasing and/or award should be directed electronically, via the Rocky Mountain E- Purchasing system, to Cody Walters, Associate Procurement Specialist, Contracts & Procurement Division, El Paso County. The Consultant submitting the question(s) shall be responsible for ensuring that the question(s) is received by the date and time listed above in the Schedule of Activities for submitting the question(s).

ACCESSIBILITY COMPLIANCE: All non-confidential documents that may be subject to public requests under the Colorado Open Records Act (CORA) must comply with the Web Content Accessibility Guidelines (WCAG) 2.1 and the Americans with Disabilities Act (ADA). Consultants must ensure that their software, products, services, and documents are accessible. Additionally, Consultants should include any Voluntary Product Accessibility Template (VPAT), Accessibility Conformance Report (ACR), or other Accessibility Statements relevant to their offerings. Consultants have the option to provide a recording demonstrating conformance, test results, or an agreement to remediate their technology to meet accessibility standards.

REMAINDER OF PAGE LEFT INTENTIONALLY BLANK

# REQUEST FOR PROPOSAL #RFP-25-087 SUMMARY OF WORK / SPECIFICATIONS

El Paso County is soliciting responses from qualified, experienced Consultants to provide all labor, materials, and equipment necessary to complete the El Paso County Stormwater Master Drainage Plan. The material and labor services to be purchased pursuant to this RFP are funded by El Paso County.

It is expected that the business and their team members have significant experience with this type of work. The successful Consultant shall be considered and shall remain an independent Consultant throughout the term of any contract awarded pursuant to this Solicitation.

The successful Consultant shall be solely responsible for scheduling and coordinating work of the sub-Consultants, suppliers, and other individuals or entities performing or furnishing any of the work under direct or indirect contract with the successful Consultant.

The successful Consultant shall provide and assume full responsibility for all services, materials, equipment, and labor necessary for completion of the services outlined in this Solicitation as awarded.

The County of El Paso, in accordance with the provisions of Title VI of the Civil Rights Act of 1964 (79 Stat. 252, 42 US.C. §§ 2000d to 2000d-4) and the Regulations, hereby notifies all submitters that it will affirmatively ensure that any contract entered into pursuant to this solicitation, disadvantaged business enterprises (DBE) will be afforded full and fair opportunity to submit proposals in response to this solicitation and will not be discriminated against on the grounds of race, color, or national origin in consideration for any award.

The Project will be funded through the following sources: El Paso County. There will be El Paso County oversight of the project.

# REQUIRED DOCUMENTATION

Failure to provide required information may deem your submittal non-responsive. Submittals must contain, in blue ink, a manual signature of an authorized agent of the Consultant or a verifiable electronic time and date stamped signature in the space provided on all appropriate signature lines in this solicitation. Typed names as signatures are not allowed.

  - Consultant Information Form

  - Proprietary / Confidential Statement

  - SubConsultant list (if applicable)

  - Exhibit 1 – Exceptions Form

  - Exhibit 2 – Lobbying Certification

  - Exhibit 3 – Non-Collusion Affidavit

  - Exhibit 4 – Minimum Insurance Requirements

  - Completed and signed Cover Sheet

  - Addendum(s) Acknowledgement, if applicable

  - Evaluation Criteria Documentation

- BACKGROUND / GENERAL INFORMATION

- Background

El Paso County desires to update its drainage master planning to include appropriate levels of long-term hydrologic and hydraulic analyses and public infrastructure capacity evaluation throughout the County. Currently there exists many drainage basin planning studies (DBPSs) for developing areas within the County, with an additional DBPS anticipated to begin in late 2025. The majority of existing County DBPSs were completed prior to 2010, and are therefore outdated and obsolete in many aspects, including realized development types and densities, design criteria, hydrologic modeling, compliance with water quality and water rights regulations, and observed development impacts on drainage facilities and streams. Individual jurisdictions and districts within the County have had additional studies completed that overlap with unincorporated County areas and may have recommendations inconsistent with County DBPSs. The Stormwater Master Drainage Plan (SWMDP) study will analyze existing and future regional drainage conditions; identify flood hazards, deficient facilities and corrective improvements; identify anticipated future capacity improvements, priorities, and estimated costs for input into the County’s capital improvement program (CIP); and evaluate the general status of the current drainage and bridge fee system based on anticipated future improvement needs.

The primary objectives of the SWMDP process are:

- Provide updated hydrologic modeling at a USGS subbasin (HUC 8) level of detail;

- Provide analysis of existing and future regional stormwater infrastructure needs;

- Identify areas of existing and potential future development subject to flood hazards;

- Provide regional stormwater project lists and estimated costs; and

- Prioritize the identified regional improvement projects.

The secondary objectives are:

- Identify environmental issues, impairments, and potential high-risk pollution sources;

- Address fluvial processes and potential hazards in general;

- Address funding needs and options to ensure adequate resources to build the identified future infrastructure;

- Address funding needs and schedules for maintenance of existing and future stormwater infrastructure;

- Review the general status of the current drainage and bridge fee structure for new development; and

- Address necessary updates to County criteria, policies, and strategies necessary to implement the SWMDP.

Upon completion of the Project, the SWMDP will be a dynamic, “living” document that will require ongoing updates over time. The SWMDP shall have a structure allowing ease of future revisions. Future updates will address aspects including but not limited to changes in runoff due to new development, environmental issues, updates to State and Federal regulations, updated County criteria, refined topography and modeling information, effects of completed drainage and water quality projects, updated project priorities, costs and funding, and coordination with the County’s capital improvement and maintenance programs. The long-term goals of the SWMDP are to achieve stability, sustainability, resilience, and functionality of all aspects of the County’s stormwater drainage systems in consideration of public safety and preservation of environmental functions.

The County is in the process of updating its stormwater infrastructure data, which will be integrated into the SWMDP mapping and analysis as that data becomes available (anticipated to be available by February 2026). Updates to the County’s capital improvement program (CIP) and the subdivision drainage and bridge fee system will be guided by the results of the SWMDP and infrastructure analysis, with the CIP program and fee system used to implement the priority improvements as development occurs and as funding becomes available for public drainage and water quality infrastructure.

The development and adoption of a master drainage plan, being an amendment to and a component of the El Paso County Master Plan, requires a public process involving stakeholders including the public, property owners, regulatory agencies, local municipalities and districts, surrounding counties and districts, and the appropriate boards and commissions. Compiling the ideas, perspectives, and needs of all stakeholders is critical to ensure project success. The Project team shall develop and implement a public collaboration plan for the project, including a strategy to involve representative stakeholders directly in the planning and decision-making processes. The County’s intention is to collaborate with the public and stakeholders in all phases of the project, especially during the development of plan recommendations and identification of priorities. Collaboration through such partnerships promotes communication, acceptance, and support in implementing policies and achieving project goals. This level of participation requires adequate time to successfully coordinate and implement.

- Basin Characteristics / Available Information

Previous El Paso County drainage basin mapping and development fee studies have identified 145 individual drainage basins within 14 subwatersheds in El Paso County, 30 of which have a DBPS adopted by the County. For the purposes of the SWMDP, it is anticipated that the portions of the 11 United States Geological Survey (USGS) eight digit hydrologic unit (HUC 8) watersheds within El Paso County, identified in the table below, will be the focus of study, with different levels of study detail for each watershed as appropriate.

Table 1 – Study Watersheds

| Watershed / USGS HUC 8 ID No. | Basin Area / Area in County / Unincorporated Area (square miles)* | Development Density | Level of Study Detail Needed | Notes |
| --- | --- | --- | --- | --- |
| Big Sandy 11020011 | 1,896 / 112 / 111 | Agricultural / Rural | Low | Most development is in and around Ramah and Calhan |
| Bijou 10190011 | 1,391 / 23 / 23 | Agricultural / Rural | Low | Some 5-acre rural lot development |
| Chico 11020004 | 740 / 597 / 597 | Agricultural / Rural / Residential | Varies, High to Low | Large amount of new development in upper portion of basin |
| Fountain 11020003 | 927 / 772 / 541 | High to Low / Agricultural | Varies, High to Low | Highest amount of development density; large incorporated areas |
| Horse 11020008 | 1,426 / 283 / 283 | Agricultural | Low | Almost entirely agricultural |
| Kiowa 10190010 | 718 / 35 / 35 | Rural Residential | Medium | Most zoning is for 5-acre rural lot development |
| Middle South Platte-Cherry Creek 10190003 | 2,905 / 44 / 44 | Varied Residential | Medium | Varying levels of residential development |
| Rush 11020012 | 1,359 / 23 / 23 | Agricultural | Low | Almost entirely agricultural |
| Upper Arkansas 11020002 | 2,304 / 71 / 71 | Very Low | Very Low | Mostly Fort Carson, National Forest, and Colorado Springs Utilities-owned |
| Upper Arkansas-Lake Meredith 11020005 | 2,205 / 161 / 161 | Agricultural | Low | Almost entirely agricultural |
| Upper South Platte 10190002 | 1,846 / 9 / 9 | N/A | Very Low | National Forest |
| Total County / Unincorporated Area | 2,129 / 1,897 Square Miles |  |  |  |
| - Basin areas are approximate and may not account for recent annexations and actual topography. |  |  |  |  |

The El Paso County drainage basin map, reports, and digital data, and other reference materials are available online at the links in following sections of this solicitation. Any existing County documents not available online can be provided upon request.

- SWMDP Process

The process of developing the SWMDP includes:

Phase 1. Scoping, Stakeholder Involvement and Public Collaboration Plan

Phase 2. Data Collection / Existing and Future Hydrologic Conditions

Phase 3. Flood Hazard and Infrastructure Capacity Evaluation

Phase 4. Environmental Concerns, Water Quality Impairments and Pollution Sources

Phase 5. Regional Improvements and Prioritization

Phase 6. Funding Needs / Fee System / Criteria, Policies and Strategies for Implementation

Phase 7. Plan Adoption

These phases generally occur sequentially, but portions of each phase may occur in conjunction with other phases when approved by the County. Phases include sub-phases that provide intermediate milestones to ensure that decisions and work products are acceptable to the County and stakeholders. More detailed descriptions of each phase, the tasks required, and the work products are provided in following sections.

- Stakeholder Involvement

Stakeholder involvement includes not only developing and implementing the Public Collaboration Plan but soliciting, receiving, and documenting concerns and questions, incorporation of comments, communication of the status of the study, notifications of decisions made, milestones reached, and meetings. Communication with stakeholders provides opportunities to present information about the SWMDP process, analyses, and proposed plans. Stakeholder involvement is coordinated with the SWMDP phases as follows:

Phase 1. Scoping, Stakeholder Involvement and Public Collaboration Plan

- Initial Scope of Work (SOW) and Master Project Schedule to be agreed upon with the County

- Develop a Public Collaboration Plan.

- Coordination with potential stakeholders; identify all parties to be contacted and obtain contact information.

- Notification to stakeholders of the planning process, the anticipated schedule and website; invitation to initial public meetings.

Phase 2. Data Collection / Existing and Future Hydrologic Conditions

- Stakeholder meetings to introduce the SWMDP scope and process, solicit information about specific drainage issues in the County, identify issues to be considered and discuss possible solutions.

- Written/electronic notification to stakeholders summarizing results of initial public meetings, upcoming tasks, and providing updated basic SWMDP schedule.

Phase 3. Flood Hazard and Infrastructure Capacity Evaluation

- A stakeholder meeting is anticipated to be held for Phases 3 and 4 following completion of evaluations and draft information, per the Phase 4 description below.

- Written/electronic notification to stakeholders to summarize results of Phase 3 and to update basic SWMDP schedule as needed.

Phase 4. Environmental Concerns, Water Quality Impairments and Pollution Sources

- Stakeholder meetings to present the draft results of Phases 3 and 4, receive input and recommendations.

- Written/electronic notification to stakeholders to summarize results of Phases 3 and 4 meetings, draft and final chapters, and to update SWMDP schedule as needed.

Phase 5. Regional Improvements and Prioritization

- Stakeholder meetings to present conceptual regional basin design alternatives, evaluation of preferred alternatives, priorities, and costs, and receive input and recommendations for alternatives to be used in determining the Selected Plan.

- Drainage Board and Planning Commission informational meetings; potential Board of County Commissioners informational presentation during Phase 5 or Phase 7.

- Written/electronic notification to stakeholders to summarize results of Phase 5 meetings, draft and final chapters, and to update SWMDP schedule as needed.

Phase 6. Funding Needs / Fee System / Criteria, Policies and Strategies for Implementation

- Stakeholder meetings to present the complete draft SWMDP and discuss construction and maintenance funding needs, the drainage and bridge fee system, County criteria, policies and implementation strategies.

- Receive final stakeholder input on the SWMDP.

- Written/electronic notification to stakeholders to summarize results of Phase 6 meeting, final draft documents and website, and to update the remaining SWMDP schedule.

Phase 7. Plan Adoption

- Written/electronic notification to stakeholders of the SWMDP adoption process and the schedule for presentation of the Plan to commissions and boards.

- Public notification for Drainage Board and Planning Commission approval meetings. (County will also provide official public notifications per standard procedures.)

- Board of County Commissioners informational presentation. (if not completed in Phase 5)

- Written/electronic notification to stakeholders of the adoption of the SWMDP and the availability of the final document and website.

Stakeholder involvement is integral to the SWMDP process and shall be coordinated with and complementary to the SWMDP analyses. The specific information and the amount and detail of the information to be provided may vary depending on the results of preceding stakeholder interactions and direction by the County.

- SWMDP Submittals

At key points in the SWMDP process, formal submittal of documents will occur for review and concurrence by the County. Documents shall be approved by the County prior to distribution to stakeholders or setting stakeholder meetings. Generally, submittals shall be provided as chapters, sections, or appendices of the SWMDP.

Submittals to be reviewed for concurrence/approval by the County include:

Phase 1. Scoping, Stakeholder Involvement and Public Collaboration Plan

- Public Collaboration Plan.

- Updated Scope of Work (if needed), Stakeholders List and Schedule.

- Memorandum presenting the final Scope of Work, Stakeholders List and Master Project Schedule.

- Draft and final notification to stakeholders of SWMDP process, time and date of first meeting and first meeting agenda.

Phase 2. Data Collection / Existing and Future Hydrologic Conditions

- List of applicable federal, state and local criteria/codes/regulations.

- Land use data for each planning horizon scenario including predominant hydrologic soil types, percent imperviousness, and subbasin curve number values.

- Environmental and wildlife data.

- Basin characteristics including irrigation facilities, structures, etc. as needed.

- Presentation materials for initial stakeholder meetings.

- Hydrologic analysis methodology and parameters.

- Draft and final hydrologic analyses and modeling results.

- Comparison to previous studies.

- Draft and final initial hydraulics analyses and modeling results.

- Summary of stakeholder meetings and schedule update.

- Draft website.

Phase 3. Flood Hazard and Infrastructure Capacity Evaluation

  - General comparison to Federal Emergency Management Agency (FEMA) floodplains.

  - Major drainageway, structure, and conveyance evaluation parameters.

  - Existing system deficiencies.

  - Developed conditions future needs.

  - Potential hazards from fluvial processes.

  - Presentation materials for stakeholder meeting(s).

Phase 4. Environmental Concerns, Water Quality Impairments and Pollution Sources

- Presentation materials for Phase 4 stakeholder meeting(s).

- Analysis of soils, geology, and geologic hazard concerns.

- Analysis of environmental and wildlife resources, parks and trails master plan.

- Identification of utility corridors and major irrigation facilities.

- Identification of potential significant point and non-point pollution sources.

- Draft and final report chapters through Phase 4.

- Summary of Phases 3 and 4 stakeholder meeting(s) and schedule updates.

Phase 5. Regional Improvements and Prioritization

- Strategy and method of alternatives comparison.

- Draft and final process for developing, evaluating, and recommending the most appropriate and feasible alternatives, including how the alternatives generally compare to previous DBPS recommendations.

- Unit costs for potential improvements.

- Approximate improvement costs by watershed, basin and jurisdiction (as applicable).

- Presentation materials for Phase 5 stakeholder, Drainage Board, and Planning Commission (informational) meetings.

- Selected Plan, quantities, costs, and priorities within each watershed.

- Draft and final report chapter.

- Summary of Phase 5 stakeholder meeting(s) and schedule updates.

Phase 6. Funding Needs / Fee System / Criteria, Policies and Strategies for Implementation

- Summary of funding needed to meet Phase 5 identified costs for the 2045 study horizon.

- Funding needs for public improvements (existing deficiencies) and improvements needed due to anticipated new development.

- General drainage and bridge fee system analysis and recommendations.

- Estimated ongoing maintenance obligations and potential funding sources.

- Recommendations for criteria updates, policies, and strategies to meet current maintenance needs and to meet the anticipated needs of new development.

- Presentation materials for Phase 6 stakeholder review.

- Draft and final report chapter.

- Draft and final SWMDP overall report chapters, website, and appendices.

- Notification to stakeholders of project status and website update.

Phase 7 Plan Adoption

- Presentation materials (PowerPoint and/or display boards) to be used to describe the SWMDP process and analyses, the proposed Selected Plan, anticipated funding needs and the relation of drainage and bridge fees to funding, to the Drainage Board and Planning Commission for approvals.

- Informational session with the Board of County Commissioners (if not completed during Phase 5).

- Incorporate approval resolutions and any meeting minutes and important correspondence as an appendix of the SWMDP.

- Notification to stakeholders of SWMDP adoption and availability of the final SWMDP and website.

More detailed descriptions of each required submittal are provided in the following sections. The timing of each submittal and the time required to complete it will vary depending on the results of previous phases and stakeholder input. The Master Project Schedule shall include adequate time for review of submittals by the County and stakeholders and shall be updated as appropriate during the Project.

The SWMDP must take into account applicable Federal and State laws and regulations related to the management of stormwater drainage systems, including water rights and environmental regulations. Accessibility of the SWMDP website and final plan documents is an imperative requirement.

# SCOPE OF WORK

# The Consultant shall be expected to perform all tasks and provide all documentation and documents described in the Scope of Work (SOW) unless modified in writing.

# Project Goals

# The services requested in this solicitation shall assist the County with meeting the following project goals:

- Effective project management and coordination of the identified tasks.

- Development of updated regional hydrologic models for the County watershed areas.

- Development of updated regional hydraulic models for the County streams.

- Determination of appropriate regional drainage improvements necessary to accommodate anticipated development in the specified year 2045 study horizon.

- Ability to integrate SWMDP recommendations into capital improvement programs and the drainage and bridge fee system.

- Creation of dynamic SWMDP mapping and documents with ease of future revisions in mind.

The County may elect to have the Consultant perform additional services depending on the need, including the following Optional Tasks:

- Acquisition of updated topographic data at an appropriate level of detail for use in SWMDP modeling.

- Detailed hydraulic modeling or analysis in certain areas.

- Updated development drainage and bridge fees in certain basins.

- Draft criteria revisions.

- Draft regional/watershed fee recommendations.

  - Project Management, Coordination and Administration

This task shall include general administration, coordination, documentation, scheduling, reporting, and related activities for the overall successful completion of the Project.

The Consultant shall provide, track, and update the Master Project Schedule and critical milestones. The schedule shall be developed in sufficient detail to track all project tasking reflected in the Statement of Work. Additional tasks and sub-tasks shall be included in the schedule where appropriate.

As needed, the Consultant shall also prepare presentation materials in accordance with project outreach and communications efforts.

The Consultant shall take the lead in scheduling and coordinating all meetings necessary to coordinate with stakeholders and other affected parties, and to advance the project. The Consultant shall not schedule or attend meetings without the direction and approval of the County Project Manager (County PM). It is anticipated that regular coordination meetings, virtual or in person as appropriate, will be held with the County bi-weekly. Meetings with regulatory agencies, utility companies, and other parties will be scheduled as needed. The Consultant shall facilitate meetings and provide meeting agendas to participants. The Consultant shall provide meeting minutes, and track discussion and action items generated by the meeting attendees.

  - Project Management: The Consultant shall designate a Project Manager for this project who is a registered Professional Engineer in the State of Colorado. This individual will work directly with and support the County PM and will oversee the management and administration of the Project. The Consultant’s Project Manager must be available and responsive to the County PM on a daily basis, Monday through Friday, throughout the duration of the project. The Consultant shall also designate an Assistant Project Manager who is qualified to assume the Project Manager’s duties in the event of their unavailability due to travel, illness, or any other circumstances lasting longer than one (1) week. The Consultant shall provide appropriate and adequate quality assurance/quality control (QA/QC) procedures throughout the project.

Trimble Unity Construct (e-Builder): The Consultant shall utilize the Trimble Unity Construct (“e-Builder”) software platform for project management and administration throughout the term of the Contract (see Attachment 3). The Consultant shall conduct Project operations as outlined by the County PM utilizing the Trimble Unity Construct platform. The County will provide general training for using Trimble e-Builder after the contract is awarded.

  - Invoicing: An itemized invoice with backup must be submitted monthly to the County PM for approval prior to payment. The County shall reimburse the Consultant’s reasonable, allocable, allowable costs of performance of the work, not exceeding the maximum agreed total amount.

To be eligible for reimbursement, Consultant costs shall be in accordance with the terms and conditions of this solicitation and any corresponding agreement; necessary for the accomplishment of the work; reasonable in the amount for the goods and services provided; actual net cost to the Consultant; incurred for work performed within the contract period of performance; supported by properly executed payrolls, time records, invoices, contracts, or vouchers evidencing in detail the nature of the charges.

The Consultant shall prepare and submit to the County monthly charges for costs incurred on the Project. Invoices shall:

      - Include contract number, purchase order number, description of the services performed, the dates of performance and the amounts, description of reimbursable expenses, and any other project specific information requested by the County. There should be a summary of accounting to include initial contract amount, additional amount(s) added to agreement via change order, amount previously billed, amount billed with current invoice, total amount billed to date including current billing and amount remaining in the agreement.

      - Include a status report that briefly summarizes the work completed within the invoiced pay period and anticipated work for the next month.

      - Be signed by the Project Manager prior to submittal to the County.

      - If personnel (title and/or name) that are not listed on the agreement approved rate sheet are proposed to be used on the Project, the Consultant shall receive prior approval by the County before adding personnel to the agreement by providing a brief introduction of the employee including their Name, Title, billable rate and short description of their previous work, ongoing work and/or future work on the Project. Once approved by the County, this information shall be included in the Status Report.

      - Payment will be made only after the Consultant’s monthly schedule update and required forms/documents are approved by the County.

      - The Project Manager will promptly notify the County PM and the Engineer of Record of any non-compliance issues.

  - Meetings:

- The Consultant shall organize, conduct, and document all meetings.

- Participate and facilitate meetings with the County PM, stakeholders, county attorney, county administration, public, and public hearings as applicable.

- The Consultant will schedule and attend necessary meetings with the County PM for the duration of the Project. These meetings shall include, at a minimum, bi-weekly progress meetings, public hearings, and other stakeholder coordination meetings as required for advancing the Project.

- The Consultant shall facilitate meetings and provide meeting agendas to all participants at least three (3) days prior to the meetings. The Consultant shall track discussion and action items generated by the meeting attendees and provide meeting minutes to all attendees and an established list of recipients within five (5) working days after each meeting.

- The Consultant shall not schedule or attend meetings with agencies, developers, or other outside parties without the direction and acknowledgement of the County PM.

  - Documentation / Record Keeping:

- Upon receiving Notice-to-Proceed, the Consultant shall be responsible for establishing all necessary procedures and controls to administer the Project. The County PM will advise as to the acceptability of the recommended forms and procedures, and if approved, the procedures shall be documented and incorporated into a contract management procedure document for this Project.

- The Consultant will maintain thorough and complete records of activity. At the close of the Project, all original notes and records will become the property of El Paso County.

- The Consultant will receive and review requests for information, maintain thorough and complete records of activity, prepare periodic reports/memos that summarize work activities, provide a log of activities, issues, and solutions.

- The Consultant shall keep a record of all proposed contract changes, the reasoning and basis behind each change.

  - Schedule Management:

- The Consultant will develop and maintain a Master Project Schedule identifying critical path activities, constraints, and interrelationships that will impact the progress of the project. The County PM will review, comment, and recommend revisions or approval of the initial Master Project Schedule submitted by the Consultant. The schedule will include projected progress of key work activities and anticipated submittals and will extend from the Consultant’s Notice-to-Proceed through SWMDP adoption. The Consultant will not commence work without an approved schedule.

- The Consultant will update and report on the status of Master Project Schedule and monthly “look ahead” monthly or more frequently as appropriate. The Consultant shall submit the Master Project Schedule with updates with the monthly invoice. The updated schedule will be reviewed by the County PM for accuracy, reasonableness, and adherence to the previous schedule update. Variances will be discussed and reviewed considering overall Project and schedule commitments. Monthly invoices will be approved only after updates of the Master Project Schedule are approved.

  - Reporting:

- The Consultant will prepare bi-weekly project status reports/memos summarizing the activities of the Consultant (scope/schedule/budget) and other individuals and agencies impacting the Project. The Consultant will also advise the County PM of upcoming work activities, updating the status of changes, schedule impacts, and documenting any noteworthy events. This report will be submitted to the County PM for review in advance of regularly scheduled progress meetings for discussion at the meetings.

- The Consultant will prepare notices as needed, suitable for updating the public via the County or Project website as to the status and progress of the work.

  - Phase 1 – Scoping, Stakeholder Involvement and Public Collaboration Plan

The purposes of Phase 1 are to:

- Finalize the Scope of Work with the County.

- Prepare the Master Project Schedule for presentation to County and stakeholders.

- Develop the Stakeholders List; a collaborative effort between the County and the Consultant to identify a comprehensive list of agencies, organizations, private companies, and individuals that will be routinely notified of the progress of the planning effort, invited to progress meetings and receive draft technical information for review during the course of completing the technical work. The Stakeholders List shall include email and mailing addresses and shall be routinely updated.

- Prepare memoranda to summarize the discussion and results of each coordination meeting. These memoranda shall be distributed to the stakeholders and County as appropriate.

- Develop the Public Collaboration Plan providing a framework for how stakeholders interact with the project and with decision-makers. While this plan is likely to evolve and change as circumstances dictate, a well-developed public involvement plan will chart the path the Project team will take to ensure that all appropriate public involvement steps have been completed. To ensure adequate access to project information, appropriate methods will need to be established to keep stakeholders informed and to allow participation in the Project. A website shall be established and maintained by the Consultant to provide project information and solicit questions and feedback from stakeholders and any other interested parties.

  - Phase 2 – Data Collection / Existing and Future Hydrologic Conditions

The purposes of Phase 2 are to solicit interest in and comments on the planning effort, gather technical information related to the County basins’ topographic, hydrologic and hydraulic characteristics, flood history and FEMA floodplain boundaries. The findings shall be presented to the appropriate stakeholders for review. Comments regarding the Phase 2 work shall be addressed to the satisfaction of the County prior to commencing with Phase 3 of the Project.

- Basin Technical Information Gathering

      - Technical information to be gathered includes:

            - Drainage Criteria Manuals and policy documents.

            - Hydrologic and floodplain studies.

            - FEMA mapping and flooding history of the basins.

            - Previous basin planning studies and drainage studies in the basins.

            - USGS geologic mapping and potential geologic hazards mapping.

            - Environmental and wildlife resource mapping.

            - Jurisdictional boundaries.

            - Aerial photos, current and historic.

            - Land use/zoning data, existing and future.

            - Major land development planning data.

            - Natural Resources Conservation Service (NRCS) soils data.

            - Assessor’s parcel boundaries and data.

            - Survey data, including Township and Range lines and County High Accuracy Reference Network (HARN) points.

            - Stormwater system inventory data and photos (coordination with separate County project).

            - Basin condition observations, field surveys and photos.

            - Major transportation corridor plans, including the County Major Transportation Corridors Plan (MTCP).

            - Regional parks, trails, and open space plans.

            - Major utility information, existing and proposed.

            - Irrigation facilities.

Additional data requirements shall be identified as necessary. Significant digital information is available through the County’s Information Technology Department. The Consultant shall be responsible for identifying and acquiring background information and data. Note that a minimal level of detail may be required within incorporated areas of the County, but the focus of the SWMDP shall be the unincorporated County areas.

      - Federal, state and local regulations: A listing of federal, state and local criteria/codes/regulations that may affect the planning effort shall be provided. Regulations unique to the watersheds and basins shall be identified and discussed with the County and stakeholders.

- Basin Characteristics

- Overall basin limits: using the best available topographic mapping (to be confirmed with the County) the HUC 8 watershed and County basin boundaries shall be determined for the SWMDP. Using an appropriate contour interval, overall basin maps shall show the general topography of each basin or watershed, as appropriate, and significant roadways, property boundaries, landmarks, etc.

- Maps shall be developed showing the NRCS Hydrologic Soil Group designations within each basin, as identified in the El Paso County Soil Survey.

- Maps showing the existing and anticipated future land uses within each basin and each subbasin, as applicable, shall be developed. Geographic Information System (GIS) data and map files shall be provided to the County for review and concurrence. The Land Use maps shall be developed using planning information provided by the County and supplemented with appropriate current development data. It is not expected that a high level of detail or information for all individual parcels will be provided in the SWMDP. Two (2) future land use condition scenarios/development horizons (scenarios d and f in Table 2 below) shall be evaluated only for the basins with ongoing and anticipated significant urban-level development (Chico Creek and unincorporated Fountain Creek): the projected 2045 horizon (for input to CIP and drainage fee analyses); and ultimate buildout land uses (for long-term flood hazard planning). Land use projections from other jurisdictions within or adjacent to developing basins must be incorporated into the future condition land use data as applicable. The land use maps shall be supplied to government agency stakeholders and the County for final review and concurrence prior to proceeding with the hydrologic evaluation.

- Mapping of environmental and wildlife areas of concern in the basins shall be developed, and these areas shall be addressed in detail in Phase 4.

- Narrative descriptions of watershed and basin land conditions, overall environmental concerns, hydraulic structures, and irrigation facilities shall be included. Structural factors affecting basin hydrology shall be identified and shown on basin maps and included in GIS data. Depending on the significance, nature and number of structural factors, separate detail maps may be necessary.

- Hydrologic Model Development

- The U.S. Army Corps of Engineers Hydrologic Engineering Center's Hydrologic Modeling System (HEC-HMS) software package shall be used for the development of the hydrologic characteristics of the basins unless otherwise specifically approved by the County. The program version to be used shall be approved by the County.

- Hydrologic naming conventions and analyses from DBPSs, as applicable, shall be considered, revised and incorporated into the analysis as appropriate. Information and public model data from recent DBPSs, FEMA floodplain studies, master development drainage plans, etc. may be utilized and referenced as appropriate.

- Hydrologic maps for each watershed and drainage basin shall be developed at an appropriate scale for printing in 11 x 17-inch sheet format, with design points at key locations and land features such as major roadways, railroads, irrigation ditches, and tributaries. Subbasins shall be delineated to provide appropriate levels of detail for existing and anticipated development in urban and rural areas, should align with existing DBPS subbasins where appropriate, and shall be named/labeled systematically. The size of subbasins in undeveloped portions of basins shall be appropriate for application of the hydrologic modeling methods being used. Subbasins shall be delineated so that characteristics (land use, soil types, slopes, etc.) are as uniform as practical throughout each. The naming/labeling system shall associate subbasins with channel mainstems and tributaries to represent their associations. Subbasins, conveyance elements and design points shall be labeled systematically and consistently to represent their relation to each other and with ease of reference to previous DBPSs or other past drainage studies.

- Rainfall patterns, depths and distributions shall be evaluated for the 2, 5, 10, 100, and 500-year recurrence intervals. A recommendation on the use of Atlas 14-derived versus Type II rainfall distribution curves shall be provided. Coordination with the City of Colorado Springs on its criteria and rainfall distribution recommendations is necessary and shall be documented. The County will work with the Consultant to determine the appropriate storm distribution and depth area reduction factors (DARFs) to use in each watershed. Comparisons of the latest National Oceanic and Atmospheric Administration (NOAA) Atlas rainfall and model values shall be included.

- Schematic routing patterns shall be developed for each watershed/basin and shown in a model schematic plan. Narrative discussion of routing methods and parameters is required.

- Average imperviousness and runoff curve numbers will be developed utilizing the approved hydrologic land use maps. When basin land use categories are not consistent with standard categories identified in policy documents or data sets, attributes may be determined and provided by the County.

- Time of concentration calculations for basins and subbasins shall be developed using methods described in the County’s criteria manuals or other appropriate reference documents.

- Storage and discharge curves for existing major/regional detention basins and reservoirs, as would be accounted for in FEMA floodplain studies, shall be developed for input to the hydrologic model.

- Pre-development and existing condition attributes and hydrologic results for each basin and subbasin shall be summarized in tables and figures. Contributing areas, imperviousness, peak discharges and runoff volumes shall be produced at design points throughout each basin and included in summary tables and figures as appropriate. Discharge rates shall be developed for each drainage basin, watershed and major drainageway for the 2, 5, 10, 100 and 500-year recurrence intervals per Table 2, below. Calibration and validation of modeling to observed data on major drainageways, to an appropriate level, shall be performed.

- Future land use hydrologic results for each subbasin and design point (without drainageway improvements or proposed regional detention), shall be summarized in tables and figures, with comparison to existing and pre-development conditions. Peak discharges and runoff volumes shall be developed for each planning horizon scenario in Table 2, below.

- Provide comparison of results to past studies and alternative methods of peak flow estimation, and explanation of differences greater than ten percent. Comparisons to the flood of record through historical accounts, stream gage data or similar basins shall be provided.

- Prepare and submit draft Introduction, Basin Characteristics, and Hydrology report chapters and technical appendices for review by the County. Submittals shall include draft GIS data sets used in the hydrologic models and the hydrological models, if requested by the County.

- Update the Project website and notify stakeholders.

Table 2 – Hydrologic Scenarios

| Study Horizon | Recurrence Interval |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 2-yr | 5-yr | 10-yr | 100-yr | 500-yr | Notes |
| a. Pre-development Conditions* | X | X | X | X | X |  |
| b. Existing Conditions (~2018-2024) | XX | XX | XX | XX | XX |  |
| c. Long-Term Developed Conditions (Undetained) | X1 | X1 | X1 | XX | XX | Emergency Condition |
| d. Long-Term Developed Conditions (with FSD)** | X | X | X | X | X | Assume volume increase with peak flow attenuation to Existing |
| e. 2045 Developed Conditions (Undetained) |  |  |  | X | X | Emergency Condition |
| f. 2045 Developed Conditions (with FSD, limited GI/LID)** | X1 | X | X | XX | X | Assume volume increase with peak flow attenuation to Existing |
| g. 2045 Developed Conditions (with Recommended Plan implementation)** | X1 | X | X | XX | X | With Recommended Plan improvements that affect peak flows (as applicable) |
| - Scenarios indicated with “X” are anticipated to be used in hydrologic modeling and analyses, as applicable. - Scenarios indicated with “XX” are anticipated to be used in hydraulic modeling and analyses, as applicable. - Scenarios indicated with “X1” are anticipated to be provided in hydraulic model for reference (not mapping). * Pre-development conditions similar to Existing conditions will not require significant analysis. ** Scenarios d, f and g apply only to basins with ongoing and anticipated significant future development within those study horizons |  |  |  |  |  |  |

The extent of offsite hydrologic and hydraulic analyses downstream of the County boundary should be to an appropriate design point, which is anticipated to be to the confluence of Black Squirrel Creek and Chico Creek in the Chico Basin, for example. In predominantly agricultural basins, downstream analysis outside of the County boundary may not be needed. Fountain Creek is anticipated to have sufficient studies to reference, without requiring significant overall analysis by this Project.

The completion and submittal of the hydrologic analyses represents a project milestone. Significant work on the next phase for each watershed/basin shall not proceed until comments from the County have been received and addressed.

Note: The Scope of Work does not include a FEMA map revision process, and the Consultant will not be required to prepare or process applications for floodplain revisions with the Project. The study modeling results will be referred to the Colorado Water Conservation Board (CWCB) for comment and must be easily accessible for future use so that the County, developers, or other parties can utilize the SWMDP modeling as a framework to proceed with more detailed modeling and requests for floodplain revisions in the future, if necessary.

- Hydraulic Analysis

- Hydraulic analyses from previous DBPSs and recent floodplain revisions, as applicable, shall be considered, revised and incorporated into the Project analyses as appropriate. For the purposes of this Project, “regional” drainageways, structures, and conveyances are considered to be generally serving greater than 320 acres of urban tributary area, and greater than 1,280 acres of undeveloped rural areas or otherwise as in concurrence with the County PM. Information and public model data from recent DBPSs, FEMA floodplain studies, master development drainage plans, etc. may be utilized and referenced as appropriate.

- The U.S. Army Corps of Engineers Hydrologic Engineering Center's River Analysis System (HEC-RAS) software package shall be used for the development of the hydraulic characteristics of the basins unless otherwise specifically approved by the County. The program version to be used shall be approved by the County. Transitions into and out of incorporated city areas may be used in some areas where there is a great distance (more than one mile) between unincorporated areas, or no other unincorporated areas on a stream.

- The capacity of all existing County major drainageway road crossings (culverts, minor structures, and bridges) shall be determined using standard hydraulic methods for the estimation of channel and culvert/bridge capacity through the HEC-RAS model or other methods, as applicable. County criteria for sizing hydraulic structures shall be applied. Deficiencies shall generally be quantified based on existing capacities compared to a percentage of existing and future flows according to the appropriate criteria. Estimating assumptions typically may be used for culvert inlet conditions and elevation parameters based on culvert size and degree of capacity or deficiency.

- Regional storm drain systems shall be evaluated using normal depth calculations without surcharging, using County-approved hydraulic modeling software where appropriate.

- Cross-section data for the major drainageways shall be developed using maximum cross-section intervals of four-hundred feet in undeveloped areas and two-hundred feet in developed areas unless otherwise approved. Additional cross-sections shall be provided as appropriate to adequately represent changes to channel alignment, area, structures, slope, roughness, and other characteristics that affect hydraulic calculations. LiDAR surface elevation data may be used to generate most cross-sections, except where physical survey is necessary, such as at road crossings. Available County bridge dimension data will be provided to the Consultant.

- Develop Manning’s roughness coefficient values (“n”) as appropriate for each major drainageway segment. Aerial and on-site photographs along representative segments subject to changes in roughness shall be provided for reference.

- Mapping of existing regional storm drain system locations, slope, size, materials/roughness, and junction information shall be developed to represent approximate system capacities and update existing GIS attributes where necessary. Coordination with the County’s Stormwater Infrastructure Inventory and Condition Assessment project (with an anticipated completion date of February 2026) will be needed. The level of detail shall be determined by changes in hydrology and significant changes in system capacity. Hydraulic modeling is generally required for systems 48 inches and greater in diameter.

- Study floodplains and flood hazard areas of concern shall be mapped for the 1% and 0.2% annual exceedance probabilities (100- and 500-year flood recurrence intervals) for the existing condition and the long-term future development undetained/emergency conditions (hydrologic scenarios b and c in Table 2 above). 100-year water surface profiles shall be produced and calculated flood boundaries shall be delineated on topographic mapping along each County major drainageway.

        - The hydraulic model shall also include calculations for the existing condition 2, 5, and 10-year flows for reference.

        - Channel alignments with stationing corresponding to the hydraulic model shall be delineated on floodplain maps for the County major drainageways.

        - The location of representative cross-sections used in the hydraulic model shall be shown with corresponding identification number and 100-year water surface elevation (water surface elevations may be provided in tabular form). Plans shall be at an appropriate scale for printing legibly in 11 x 17-inch sheet format.

- Prepare draft Hydraulics report chapter and technical appendices for review by the County (assume a minimum of three review and revision cycles). Submittals shall include GIS data sets used to generate hydraulic characteristics including streamlines, model alignments, cross sections, ground cover, etc., and the draft hydraulic model if requested by the County.

- Update the Project website and notify stakeholders.

- Conduct stakeholder meetings to present the Phase 2 results and solicit information about watershed/basin conditions, issues to be addressed and alternatives to be considered. Summarize results of stakeholder involvement and direction provided by the County.

The completion and submittal of the hydraulic analysis report represents a project milestone. Significant work for each watershed/basin shall not proceed on Phase 5 for each basin until comments from the County have been received and addressed.

  - Phase 3 – Flood Hazard and Infrastructure Capacity Evaluation

The purpose of the Flood Hazard and Infrastructure Capacity Evaluation phase is to develop information on areas subject to flood hazards, potential fluvial hazards, and infrastructure that is or may be inadequate for existing or future developed stormwater flows.

- Flood Hazards

- Provide an overlay map and general comparison of calculated existing condition 100-year floodplain boundaries to FEMA floodplains in each watershed and note any major discrepancies and areas where FEMA map updates are recommended. (Note: regulatory floodplain map updates are not included in the scope of this Project.)

- Address the potential for flood damages to public infrastructure and developed areas on major drainageways under existing conditions modeling.

- Based on the anticipated long-term future conditions undetained 100-year and 500-year floodplain modeling, address the potential for flood damages to public infrastructure and developed areas on major drainageways.

- Provide recommendations for potential improvements to CRS ratings associated with floodplain management.

- Infrastructure Capacity Evaluation

- Set parameters for capacity analyses of County hydraulic structures and major drainageways.

- Evaluate existing deficiencies and future capacity needs of County hydraulic structures and major drainageways.

- Summarize major drainageway and structure deficiencies and potential flood damages resulting from the 100-year existing and emergency condition peak discharges to be presented to the County and stakeholders with tables and figures.

- Identify approximate potential flood damage costs to public regional infrastructure based on a methodology approved by the County.

- Fluvial Processes and Potential Hazards

- Using information obtained during the previous analyses and as follows, generally address fluvial geomorphic processes and identify areas of concern potentially subject to fluvial hazards. This analysis may focus mainly on downstream reaches and outfalls and other areas of obvious concern and is not intended to address every tributary drainageway or areas that are not anticipated to develop within the 2045 planning horizon.

    - Set analysis parameters with concurrence of the County;

    - Analysis of historic photography to identify areas of changes to channel dimensions, alignments, and visual stability over time;

    - Field visits and qualitative channel observations of select locations within the basins;

    - Field survey of select reaches (cross section, profile, and particle size);

    - Estimation of channel-forming flows through a comparison of attributes for bankfull discharge, effective discharge, and flows of a specified recurrence interval (the 2-year modeled flow may be used for comparison), as applicable, for select drainageway reaches;

    - Use of the HEC-RAS model to analyze potential shear stresses along the channel corridor and compare those to critical shear stresses required to entrain bed and bank materials;

    - Analysis of sediment transport tendencies;

    - Analysis of the effects of prolonged release durations of full-spectrum detention facilities in existing and future developed areas on downstream drainageways;

    - Estimation of long-term stability for select reaches (anticipated to be 30 or less) reaches using current geomorphic analysis tools as approved by the County.

- Address potential hazard areas recommended for coordination with the Pikes Peak Regional Office of Emergency Management Multi-Hazard Mitigation Plan.

- Provide an overview of the Colorado Fluvial Hazard Zone (FHZ) mapping program, address potential benefits such mapping could provide to specific study basins and provide a recommendation on whether this should be considered or prioritized in certain watersheds.

- Address major drainageway stream reaches where restoration principles should be prioritized, if any.

- Phase 3 Report Chapter(s) and Website Update

- Prepare draft Phase 3 report chapter(s) and technical appendices, including overlaid FEMA and modeled floodplain mapping and hazard areas of concern, for review by the County (assume a minimum of two  (2) review and revision cycles).

- Update the project website and notify stakeholders.

The completion and submittal of the Flood Hazard and Infrastructure Capacity Evaluation report chapters/sections represents a project milestone. Significant work on Phase 5 for each watershed/basin shall not proceed on the next phase until comments from the County have been received and addressed. Phase 3 in-person formal stakeholder meetings may be combined with Phase 4.

  - Phase 4 – Environmental Concerns, Water Quality Impairments and Pollution Sources

The purpose of the Environmental Concerns, Water Quality Impairments and Pollution Sources phase is to develop information on areas of concern in regard to interaction with, influence on, and pollution of, stormwater facilities and runoff. Areas potentially not suitable for typical stormwater infrastructure development and areas of concern regarding disproportionate development impacts and potential water quality impairment risks from pollution shall be identified. Evaluate and summarize the results of Phase 2 regarding:

- Environmental Resources and Concerns

Environmental resources within the watershed basins and along major drainageways shall be identified using aerial photography, published mapping, and field observations.

- Approximate extents of existing riparian and wetland resources along major drainageways. The evaluation shall include a description of the various locations found to possess potential riparian or wetland resources, a description of the vegetative species that may exist, and wetland indicators identified at select locations in the field.

- Areas of soils, geology, and geologic hazard concerns, in relation to stormwater infrastructure design, water quality, and stability, shall be identified and mapped based on available published information. Note that groundwater concerns are to be addressed in general and in regard to soil infiltration capacity and potential pollutants; however; this study is not intended to analyze or model the interaction of stormwater and groundwater in detail.

- Waters of the State subject to regulation under water quality rules and drafted dredge and fill regulations.

- Wildlife habitat and corridors and other potentially sensitive environmental resources shall be identified based on available information.

- Regulations and mapping concerning endangered species potentially within the watershed basins shall be identified through published information. The impact of such regulations on the planning of feasible alternatives for major drainageways shall be addressed in coordination with the appropriate stakeholder agencies.

- Existing and proposed major utility corridors and facilities and major irrigation facilities of concern in relation to stormwater infrastructure, shall be identified and mapped.

- GIS mapping and graphics showing the location and the extent of potential environmental resources and concerns listed above shall be prepared.

- Water Quality Impairments and MS4 Permit Requirements

- Inventory and map all impaired waterbodies (e.g., 303(d) listed streams, lakes, and reservoirs) within and downstream of the County.

- Document all Total Maximum Daily Load (TMDL) requirements applicable to stormwater discharges to impaired waterbodies identified.

- Potential Pollution Sources and MS4 Permit Requirements

- Identify and map all County MS4 point source outfalls, including the names and locations of all state waters that receive discharges from those outfalls.

- Identify priority areas with a higher likelihood of having an illicit discharge, including mapping outfalls and high-risk facilities. Include areas with a history of past illicit discharges and areas with a higher likelihood of illicit connections.

- Identify communities or areas disproportionately impacted by flooding and stormwater pollution risks.

- Complete Phase 4 Report Chapter(s)

- Prepare draft report chapter and technical appendices, including overlaid mapping and areas of concern, for review by the County (assume a minimum of two review and revision cycles). Submittals shall include GIS data sets (and agency website hyperlinks) used to generate the Phase 4 information.

- Update the Project website and notify stakeholders.

- Conduct stakeholder meetings to present the results of Phases 3 and 4 and solicit additional information about potential flood and fluvial hazards, infrastructure capacity and deficiencies, environmental conditions, issues to be addressed, and alternatives to be considered. Summarize results of stakeholder involvement and direction provided by the County.

  - Phase 5 – Regional Improvements and Prioritization

The purpose of the Regional Improvements and Prioritization phase is to develop conceptual design alternatives to update the infrastructure that is anticipated to be inadequate for 2045 study horizon developed stormwater flows, and prioritization of implementation of the necessary improvements. Alternatives shall be evaluated using a range of quantitative and qualitative parameters. Alternatives will be developed in a two-step process examining the most feasible and beneficial drainage management and flood control solutions on major drainageways. Initially, possible alternatives will be developed and evaluated for feasibility, which will be presented to the County for consideration and concurrence. Alternatives considered to be the most feasible and appropriate will be evaluated further to identify the preferred alternative. The findings of the alternatives development and evaluation will be presented to the County and stakeholders for review. The alternatives development and evaluation analyses shall include a description of how each alternative corresponds to or differs from selected alternatives of previous DBPSs, as applicable. The results of the Phase 5 analyses shall be summarized in a report chapter complete with tables, figures and maps that explain the process and the various alternatives evaluated. The Consultant shall provide a recommended alternative, the “Recommended Plan” to be advanced, and the County shall provide the Consultant with direction on proceeding with a “Selected Plan” for each watershed/basin and any adjustments to such to be advanced within each major drainageway. Items to be addressed in the “Regional Improvements and Prioritization” report chapter(s) include the following.

- Regional Improvements Strategies and Parameters

- Planning reaches shall be defined along each major drainageway within the watershed basins. Planning reaches are to include segments of the study reaches that share common characteristics such as cross-section, flow rate, soil type, geomorphology, right-of-way availability, adjacent land uses, etc., and will typically have either the beginning or end or both at a modeled design point.

- Strategies for protection and improvement of major County stormwater drainage infrastructure shall be developed in coordination with the County and key stakeholders, with guidance from the County’s draft Strategic Asset Management Plan, and tactical asset management framework, as applicable.

- Qualitative and quantitative parameters and methods of comparing and ranking alternative concepts shall be determined and a scoring system developed, preferably in a weighted numeric matrix format. This scoring system will guide the decision-making process for recommended improvements and priorities. A list of evaluation parameters, potentially including the following and others, shall be developed and presented to the County for review:

- Costs.

- Maintenance requirements.

- Flood damage reduction.

- Channel stability and sediment transport potential, near-term and long-term.

- Impacts on known environmental resources.

- Impacts on existing and future utilities.

- Impacts on major thoroughfares, existing and future.

- Right-of-way and property acquisition.

- Jurisdictional boundaries.

- Regulatory issues.

- Trails and open space.

- Stormwater quality.

- Unit Costs. A list of unit costs for each type of potential improvement or acquisition that may be used to develop alternatives shall be submitted to the County for review and approval. These costs may be on area or an average “per length” basis rather than by individual items, based on the scale of improvements.

- Development of Alternatives

  - The feasibility of regional improvement types shall be evaluated for the basins and watersheds. Generally, the overall approach to regional drainage improvements should be determined prior to fully evaluating alternatives for planning reaches; however, an iterative process may be necessary. Environmental impacts including potential impacts to Waters of the State/Waters of the U.S. and associated permitting requirements shall be addressed in alternative analyses. Potential alternatives and improvement types range from protection of natural areas to constructed channels and regional detention / infiltration facilities. Options and alternatives shall be presented to the County and stakeholders for review. Regional improvements shall be hydrologically and hydraulically modeled as appropriate to assess the impacts on drainageway peak discharges at key design points and channel stability. Considerations for detention and infiltration facilities shall include impacts to sediment transport and water quality.

Future onsite detention/water quality facilities serving individual subdivisions and development sites are presumed where regional detention is considered infeasible. The method of modeling on-site detention and water quality facilities for evaluation of impacts to the basin hydrology (typically maintaining peak flows and increasing volumes and discharge durations) shall be approved by the County. Options such as Green Infrastructure / Low Impact Development in upstream areas may be considered in relation to the benefits to downstream drainageways, including maintenance sustainability.

  - Considerations for each reach alternative option, incorporating the understanding gained from the general geomorphic and fluvial processes evaluation, shall be provided. At least two alternative drainageway protection/improvement schemes shall be developed for each major drainageway, including “standard full-spectrum detention” development conditions, and shall be compared to other alternatives including the “do-nothing” alternative. Conceptual cost estimates will be developed for each alternative. Typical channel sections and grade control scenarios providing adequate bed and bank stability where feasible will be produced for the evaluation process. The effects of regional and onsite detention on drainageway alternatives shall be addressed as applicable.

  - Water quality considerations shall be addressed with each of the alternatives. Regional alternatives for preserving or enhancing stormwater quality shall also be evaluated independently of capacity or flood control alternatives. Address the feasibility of incorporating water quality capture volume, as determined using criteria in the Drainage Criteria Manual (DCM) Update, with any proposed regional stormwater detention and infiltration basins, including limitations and requirements of other agencies (e.g., U.S. Army Corps of Engineers (USACE), Colorado Department of Water Resources (CDWR), Colorado Department of Public Health and Environment (CDPHE), and Upper Black Squirrel Creek Ground Water Management District (UBSCGWMD)).

  - The feasible alternatives and recommendations for further evaluation of recommended alternatives shall be presented to the County and stakeholders for review.

- Alternative Screening and Recommended Plan Selection

Benefits and disadvantages of the drainageway schemes shall be compared using the evaluation parameters, which shall be evaluated for each major drainageway planning reach. A matrix illustrating the relative benefits and disadvantages of each reach design alternative shall be developed to facilitate the evaluation process.

- Upon determination of preferences and direction by the County to the Consultant, the preferred alternatives shall be more fully developed for each major drainageway planning reach. The Consultant shall present the evaluation of the preferred alternatives for each major drainageway, and present the Recommended Plan to the County and stakeholders for review and direction.

- Prepare draft report sections addressing all technical steps and resulting findings, including figures, tables and related graphics summarizing the analyses, comparisons, and results of the Phase 5 work. (Assume a minimum of two review and revision cycles.)

- Prepare Recommended Plan maps at an appropriate scale for printing in 11 x 17-inch sheet format.

- Provide technical addenda for:

- County and stakeholder memoranda and correspondence.

- Hydrologic analyses with HEC-HMS input parameters and output tables, related exhibits summarizing Recommended Plan modeled basin characteristics as appropriate.

- Hydraulic analyses with input and output data tables for HEC-RAS models, cross section data and flow characteristics, velocity and shear stresses, other hydraulic calculations, etc. for Recommended Plan major drainageways.

- Upon request by the County, provide for review, working digital media and hydrologic and hydraulic models, GIS/CAD data sets, QA/QC documentation, and/or other information used or created with the Project.

- Update the Project website.

- Present draft report and Recommended Plan to Drainage Board for information and input.

- Potential informational presentations to Planning Commission and Board of County Commissioners. The need, timing, and details of these presentations will be determined as the project progresses.

- Selected Alternative Conceptual Design

The purpose of this phase of the study is to combine the Selected Plan alternatives for each major drainageway reach delineated in Phase 5 into conceptual design plans for each watershed/basin. Conceptual plan and profile designs of all County major drainageways and outfall systems shall be developed for each watershed/drainage basin defined in the study, to an acceptable level of detail for cost estimation.

The draft report shall be provided for review by the County and the stakeholders. Comments received regarding the draft report shall be incorporated into the final draft of the SWMDP report for public hearings. The final report shall be produced in an 11-inch by 17-inch format.

- Summarize and review the results of previous phases regarding:

    - The watershed/basin settings and characteristics, existing and future;

    - Environmental resources within the watersheds/basins and potential impacts;

    - Hydrology for existing conditions, future development, and conceptual design conditions;

    - Existing and proposed hydraulic structures;

    - The potential for flood damages in the existing and future development conditions;

    - Regional and onsite detention, infiltration, and water quality facilities;

    - Geomorphology, stream types, sediment transport, and drainageway stabilization needs; and

    - Conceptual channel themes and typical cross-sections.

- Refine the hydrologic and hydraulic models as necessary to incorporate the selected channel sections and design parameters, incorporate regional detention storage and infiltration facilities, if applicable, and refinement of routing flow paths as applicable.

- Provide mapping of any areas where the floodplain would be changed significantly based on the Selected Plan.

- Prepare conceptual plan and profile sheets for each major drainageway at an appropriate scale for the level of detail and printing in 11 x 17-inch format. Plan views shall indicate approximate proposed channel improvements limits, typical channel cross-sections, design flow data, detention/infiltration basins, areas requiring grade controls (locations of individual grade controls are not necessary), areas requiring bank stabilization, areas recommended to be preserved, and hydraulic structures at each major roadway crossing. The plan view shall show property lines, section lines, and jurisdictional boundaries. Profiles shall show existing and proposed inverts, approximate grades, 100-year hydraulic grade lines, ponds, crossings, and areas requiring grade controls. Representative stable channel grades for design flows and flow durations shall be identified. A separate base file for each overall major drainageway shall be available for viewing separately as a whole (not required to be set up for printing).

- Existing deficiencies, typically where drainage or bridge improvements would be necessary regardless of future development, shall be identified.

- Include a description of how each alternative corresponds to or differs from selected alternatives of previous DBPSs, as applicable.

- Conceptual cost estimates for the Selected Plan drainageway improvements, bridge structures and detention/infiltration/water quality facilities shall be prepared in spreadsheet format by watershed, drainage basin, planning reach and jurisdiction, as applicable. Costs to correct existing deficiencies (“Public Costs”) shall be identified and separated from improvement costs associated with development (“Development Costs”) under future conditions. Costs shall include land acquisition costs as applicable and as directed by the County.

- Recommended prioritization of Selected Plan improvements within each watershed and basin shall be identified based on a ranking system in accordance with the County’s asset management strategies.

- Approximate annual maintenance and replacement costs for existing and 2045 horizon planned stormwater drainage infrastructure shall be developed. Coordination with the Stormwater Infrastructure Inventory and Condition Assessment project will be needed.

- Draft Conceptual Design plans, report sections, and appendices shall be presented to the County and stakeholders for review and comment (assume a minimum of three review and revision cycles).

- The draft complete SWMDP report, final hydrologic and hydraulic models, data sets, and calculations shall be provided as digital files in native format. The Phase 5 report chapter, plans and graphics discussing and showing the conceptual design of the Selected Plan reach alternatives shall include the items listed above and the following:

    - Final summary and appendices of SWMDP process and stakeholder input;

    - Discussion of flood damage reduction and stormwater management;

    - Discussion of stormwater quality planning issues and applicable best management practices that can be incorporated into the Selected Plan improvements;

    - Discussion of regional detention/infiltration/water quality facilities, including constraints and potential implementation challenges and issues;

    - Discussion on the phasing and prioritization of the selected improvements;

    - Discussion of the potential need for right-of-way/property acquisition for the major drainageway improvements, regional detention/infiltration/water quality facilities, and floodplain preservation areas;

    - Tables summarizing the cost of improvements by reach, watershed/basin, and jurisdiction as applicable;

- Provide technical appendices to include:

- County and stakeholder memoranda, correspondence and agency review letters as applicable;

- Hydrologic analyses with HEC-HMS input and output data and other related graphs and tables summarizing the time of concentration, curve-numbers, percent imperviousness and other basin characteristics for the selected alternative;

- Hydraulic analysis with HEC-RAS input and output files and related charts and tables summarizing channel cross section data and results, flow profiles, etc.;

- Conceptual design cost summaries and worksheets, by watershed/basin and jurisdiction where applicable;

- Photo logs with ID, descriptions and geolocations (Lat/Long);

- Update the Project website and notify stakeholders.

  - Phase 6 – Funding Needs / Fee System / Criteria, Policies and Strategies for Implementation

- Completed estimations of initial construction costs (in current dollars) for the Selected Plan shall be made by the Consultant, including:

- Funding needs for public improvements (existing deficiencies).

- Funding needs for improvements needed due to anticipated new development.

- If applicable, describe existing deficiencies that have been identified as being the responsibility of other parties.

- Provide general Drainage and Bridge Fee System analysis and recommendations.

- Address estimated ongoing maintenance obligations and potential funding sources.

- Summarize current County asset management plans, strategies, and policies.

- Summarize current funding sources.

- Describe additional potential funding sources.

- Provide recommendations for criteria updates, policies, and strategies to meet current maintenance needs and to meet the anticipated needs of new development; potential issues to be addressed include:

- Low Impact Development / Green Infrastructure criteria recommendations.

- Recommended Drainage and Bridge Fee System updates and alternatives.

- Low-maintenance drainageway alternatives.

- Criteria addressing a quantitative level or measure at which an increase in runoff volume is “insignificant” to a downstream receiving drainageway.

- A report chapter shall be drafted with sections to include the following:

  - Itemization and summary tables of the improvements anticipated to be constructed.

  - Narrative describing the funding analysis process.

  - Calculations and support data (may be an appendix).

Assume a minimum of two (2) reviews of the chapter.

- Provide presentation materials for Phase 6 stakeholder review; no in-person stakeholder meetings are anticipated for Phase 6.

- Update the Project website and notify stakeholders.

- Stormwater Master Drainage Plan Report

The overall SWMDP report shall be prepared, to include the final chapters from Phases 2 through 5 and draft chapter for Phase 6. The report shall include the following information, formatted at an appropriate scale for printing in 11 x 17-inch sheet format:

  - Phases 2 through 5 report chapters and appendices.

  - Phase 6 draft chapter.

  - County/stakeholder review (assume two (2) review cycles).

  - Provide final working digital media and hydrologic and hydraulic models, GIS/CAD data sets, final QA/QC documentation, and/or other information used or created with the Project.

  - Phase 7 – Plan Adoption

Upon review and concurrence by the County, the SWMDP is submitted for review and adoption by the appropriate governing bodies. The adoption process will include the required public notices according to applicable regulations. In El Paso County the Drainage Board reviews the proposed plan and makes recommendations to the Planning Commission regarding the technical sufficiency of the plan. The Planning Commission adopts the plan by resolution to amend the County Master Plan.

- The Consultant shall assist the County with the adoption of the SWMDP. The consultant shall attend the required Drainage Board meetings and El Paso County Planning Commission hearings and provide concise presentations on the technical process, aspects, and recommendations of the SWMDP.

- The Consultant shall prepare graphics and summaries for presentation to the approval bodies outlined above.

- The Consultant shall provide the final SWMDP report, including the approval resolutions appendix, in PDF format, printed format (two copies), and, if any final revisions are made, in native digital format.

  - Schedule

The consultant shall present a Master Project Schedule for completion of the major project tasks showing task durations, milestones for meeting dates, submittals and approvals, including review times. Upon execution of a contract the proposal schedule shall be revised in cooperation with the County to establish an acceptable project schedule. The overall duration of the Project is anticipated to be 24 months.

  - Available Documents

The following documents are available to the Consultant in electronic format through the links provided below. Electronic documents and data will be provided when available.

- The El Paso County Drainage Basins map is available online at: https://planningdevelopment.elpasoco.com/wp-content/uploads/Engineering/EngineeringDocuments/DrainageBasins.pdf. (Note that this map is for general information and does not accurately conform to topography.)

- Links to current DBPS are available on this website: https://planningdevelopment.elpasoco.com/drainage-basin-plans-studies-2/ (pdf copies can be provided upon request)

- Stormwater Infrastructure Inventory and Condition Assessment GIS Database (in process; will be provided when available)

- Your El Paso County Master Plan: https://elpaso.hlplanning.com/pages/documents; https://epcdevplanstorage.blob.core.windows.net/project/d9c8fab6-3e79-4d33-9127-1e4ffa274d37/963947c6-f6b1-4c02-b89c-7e67f70a504b.pdf

- Pikes Peak Regional Office of Emergency Management Multi-Hazard Mitigation Plan: https://pproem.com/system/files/2023-10/pproem-hmp-final-20220405.pdf

- MS4 permit document: https://epc-assets.elpasoco.com/wp-content/uploads/sites/13/Stormwater/Current_Website/CDPHE-MS4-General-Permit-COR090000.pdf

- El Paso County Stormwater webpage: https://publicworks.elpasoco.com/stormwater/

- CDPHE MS4 Urban Areas Map: https://cdphe.colorado.gov/water-quality-municipal-ms4-urban-area-maps

- State of Colorado dredge and fill legislation and implementation: https://cdphe.colorado.gov/dredge-and-fill-engagement

  - Available GIS Data

The El Paso County GIS data sets listed below are available without cost to the successful consultant through El Paso County’s Digital, Strategy, and Technology Department. The acquisition of County data will require the execution of a license agreement, which shall be the responsibility of the Consultant after the Notice to Proceed is issued. The County Project Manager will initiate correspondence with the County’s Digital, Strategy and Technology (DST) and Department of Public Works (DPW) GIS staff. The Consultant shall assume that it will take about four (4) weeks to receive the GIS data after the executed License Agreement has been submitted.

- Aerial photography of the County flown in various years from 1998 to 2024 (specify years); Geographic Tagged Image File (GEOTIF) format.

- Two-foot contours flown in 2011; Environmental Systems Research Institute (ESRI) shapefile format and/or ESRI elevation grid; 1.4-meter resolution. (Note that 2018 LiDAR data is available from the State at link provided below.)

- Assessor’s parcel features geospatial dataset (with attributes available beyond schedule number).

- Water features geospatial dataset, including creeks, lakes/reservoirs, and wetlands (for information, originally from other sources).

- Drainage Basin boundaries (approximate, from 1988 mapping per link above).

- Stormwater assets including culverts, storm drains, and detention/water quality facilities (may not be complete; coordination with ongoing infrastructure assessment project is needed).

- EPC Major Transportation Corridors Plan (MTCP) (2024).

- County roads.

- High Accuracy Reference Network (HARN) survey points.

El Paso County GIS data is projected to North American Datum (NAD) 1983 State Plane Colorado-Central Federal Information Processing Standards (FIPS) 0502 Feet. However, the precision of each data set may vary. The consultant will be responsible for determining the sufficiency of the available data and identify any deficiencies that will interfere with the completion of the Scope of Work. The consultant shall also collect documents and data as needed to update available County data sets.

Data for current and future land use mapping will need further development and verification, with Assessor’s parcel information, the Your El Paso Master Plan and Pikes Peak Area Council of Governments (PPACG) area growth and development forecasting (link below) providing guidance.

Additional El Paso County GIS data is available on these GIS Open Data Portals:

- DPW: https://epcdpw.maps.arcgis.com/home/gallery.html (including stormwater assets)

- EPC: https://opendata-elpasoco.hub.arcgis.com/

Outside sources of applicable GIS spatial data include:

- USGS National Map showing Hydrologic Unit Code (HUC) 12 basins: https://apps.nationalmap.gov/viewer/?z=11&y=38.874169040948985&x=-104.45367210240812&basemap=null&layerIds=

- Natural Resources Conservation Service (NRCS) Web Soil Survey: https://websoilsurvey.sc.egov.usda.gov/App/WebSoilSurvey.aspx

- Federal Emergency Management Agency (FEMA) Floodplains: https://msc.fema.gov/portal/search?AddressQuery=el%20paso%20county%20co

- 2018 Light Detection and Ranging (LiDAR) data from the State: https://coloradohazardmapping.com/lidarDownload.)

- El Paso County Parks Master Plan Update: https://communityservices.elpasoco.com/wp-content/uploads/Parks_Planning/FINAL-El-Paso-County-Parks-Master-Plan-11-10-22-Final-for-publication.pdf

- Wildlife habitat and wildlife impact geospatial datasets developed by Colorado Parks and Wildlife: https://geodata-cpw.hub.arcgis.com/search?tags=wildlife%2Cdistribution%2Cspecies

- Wetlands data developed by the United States Fish and Wildlife Service: https://www.fws.gov/program/national-wetlands-inventory/wetlands-mapper

- Environmental Protection Agency (EPA) “My Waterway” website: https://mywaterway.epa.gov/community/110200040201/overview

- PPACG: https://ppacg.maps.arcgis.com/home/gallery.html

  - Deliverable Products

Throughout the SWMDP process, submittals shall be provided according to the descriptions provided herein and in accordance with requirements for distribution and record keeping. Deliverable products shall be provided as they are completed for review by the County. The consultant shall use MS Word and MS Excel, IBM PC compatible graphics packages, ArcGIS 10.4 or later version and Auto CAD 2013 or later version to generate report text, figures, tables, and drawings as needed, in ADA-compliant PDF format. The consultant shall obtain approval of all graphics and software proposed for use under this contract. All final deliverables shall be provided in PDF and native electronic format. All deliverables shall be clearly organized and indexed for easy access and retrieval.

Final deliverable products include:

- Public Collaboration Plan.

- Two (2) bound copies of the SWMDP with appendices and figures printed on 11 x 17-inch paper.

- SWMDP and appendices and figures in Word, Excel, and PDF files as applicable.

- GIS and Computer Aided Design (CAD) digital data sets in native format, as applicable, of:

  - basin and channel characteristics.

  - information input to the SWMDP process.

  - output resulting from SWMDP process.

- Native electronic format hydrologic and hydraulic models including all necessary associated input and output data to view and replicate results.

- Electronic files (native and PDF formats) of presentation materials.

- Survey data in CAD format.

- Correspondence, meeting agendas and minutes.

- All GIS deliverables shall be in the NAD 1983 State Plane Colorado-Central FIPS 0502 Feet projected coordinate system and compatible with ESRI ArcGIS 10.4.

- All CAD deliverables shall be tied to El Paso County-provided HARN points.

- Website files.

  - Permits / Permission to Enter Forms

The Consultant and its subconsultants shall be responsible for obtaining Work in the Right of Way (ROW) permit(s) from El Paso County for all work in the County’s ROW. This includes, but is not limited to surveying, geotechnical borings, potholing, etc. County work in the Right-of-Way permit fees will be waived. The permit will require the Consultant to provide traffic control in accordance with the Manual on Uniform Traffic Control Devices. A Method of Handling Traffic plan shall be submitted with the Work in the Right of Way application.

Permission to Enter (PTE) forms must be prepared by the Consultant and have signed approval by the property owners prior to entry onto private property. PTE forms will be needed for all work on private property, including, but not limited to survey work, utility locates and other data-gathering activities. Multiple work activities may be included on a single PTE form. County personnel and its agents shall be identified in the list of permittees. The County PM will provide the Consultant with the standard PTE template to be used in developing the Project PTE form.

REMAINDER OF PAGE LEFT INTENTIONALLY BLANK

# EVALUATION CRITERIA

All proposals deemed acceptable shall be initially rated based upon the submitted requirements. Price is not a factor in the Technical Review scoring process.

The evaluation committee will score Responses based on the following criteria listed in order of importance:

- Abilities of Consultant’s Key Personnel – (25%)

  - Describe number and nature of professional staff available for this Project.

  - Provide current and projected workload of Key Personnel.

  - Summarize/list applicable qualifications, licenses, training and/or certifications of Key Personnel. The County may request proof of the listed training, certifications, and/or licenses prior to performing work.

  - Describe/summarize Key Personnel’s Relevant Experience:

    - Include a maximum of three (3) relevant projects with similar services, timelines and/or magnitudes. This may include experience with a different organization.

    - Generally, describe project scopes and Key Personnel’s role in the project.

    - Resumes for Key Personnel may be included. If included, resumes shall be located in an appendix and referenced in the proposal.

  - Describe experience with Federal, State, and local regulations as it applies to Colorado county engineering criteria.

  - Describe technical writing qualifications and experience.

- Company’s Qualifications and Experience – (25%)

  - Provide a brief description of your firm including location(s), office locations, size of firm, and financial stability (annual public reports or private financial statements shall be included in an appendix; any information considered confidential shall be noted in Consultant’s submitted Proprietary/Confidential Statement.)

  - Relevant Experience:

    - Generally, describe past projects’ scope and services provided. Specifically identify key personnel and/or Sub-consultants involved in similar projects and their roles and responsibilities.

    - References: Provide a minimum of three (3), maximum of five (5) references where the Consultant’s firm provided similar services, one of which must be a government entity of the same size and scope as El Paso County. Summarize type of service(s) provided and past performance. Provide firm names, contact names, titles, phone numbers, and email addresses.

- Understanding and Approach – (35%)

  - Provide a clear understanding of the Project and how it will be managed.

  - Describe available services and associated support/resources required for this Project.

  - Provide a clear understanding of the Project requirements. Describe your unique approach to management of the Project (i.e. budget, schedule, other).

  - Provide a narrative describing your innovative or unique approach to completing the project requirements and solving project issues.

  - Clearly describe, define, and provide calculations for how the proposer is estimating the number of hours required per task for each person listed on the fee proposal. (Example: John Doe is estimated to provide observation for an average of ten (10) hours per day for twenty-five (25) working days for a total of two hundred fifty (250) hours). DO NOT Include pricing/costs in this narrative.

Price will be evaluated after the technical evaluations and scores will contribute to the overall ranking.

- Fee Schedule / Price- (15%)

  - The Consultant shall provide a detailed and accurate cost proposal using the example and requirements detailed on page 31 “Fee Schedule” of this solicitation.

# RESPONSE FORMAT

Failure to respond in the required format or failure to provide required information may deem your submittal non-responsive.

# To facilitate an effective review process, responses must be submitted in 8.5” x 11” electronic pdf format, with a minimum font size of 10, and all pages should be numbered in the following manner: “page __ of __ pages”, with a maximum of fifty (50) pages. All acronyms in the response must be defined.

Attachments/Exhibits included in this solicitation, that require signature and/or are a required document to be returned with your Responses shall be included as an exhibit to your Responses and will not be included in the page limit. Requested items in the appendices will not be included in the page limit. Schedules may be submitted in 11" x 17" pdf sheet format and are counted as one page.

Submittals should be prepared simply and economically providing a straightforward, concise description of the Consultant’s ability to perform the requirements of this Solicitation.

ELECTRONIC SUBMISSION OF OFFERS: El Paso County will only accept electronic bid Responses submitted through the Rocky Mountain E-Purchasing system. A Submittal Log will be posted after the County has had an opportunity to review and verify the submittals offered to the County.

The original Offer must be received before the due date and time through an electronic package transmitted through the Rocky Mountain E-Purchasing system. The Consultant is responsible for ensuring its Response is posted by the due date and time outlined in the solicitation document.

If the submittal arrives late, it will not be included in the electronic lockbox.

The Solicitation Opening for RFP-25-087 will take place VIA TELECONFERENCE utilizing the call-in information below:

Participant-guest login:

  - Dial access number: 1-719-520-7660

  - Enter the participant-guest pass code: 51488#

  - Attendee access code: 1234#

Proposers are NOT required to participate. No in-person entry to our building will be permitted.

To enable the County to conduct a uniform review of the information submitted in response to this Solicitation, Consultants must address the following information, numbered to directly correspond with the number of the Table of Contents section of the submitted Response. The County reserves the right to reject submittals that do not follow the required format. Include concise, complete information which will demonstrate that your firm is uniquely qualified to provide the products and services specified in this Solicitation.

ALL signatures on required documents must be in blue ink or a verifiable electronic time and date stamped signature in ONE PDF document.

- Provide response without reference to El Paso County logo or company logo in one PDF document.

- Submit response in a tab format that follows a clearly outlined Table of Contents that identifies all material and attachments that comprise your response by section and by page number. I.e. –Required Documentation section, Evaluation Criteria section, etc. as outlined on the Response Submittal Requirements page.

- Cover Letter, one-page limit. Submit a Cover Letter on official business letterhead that:

  - Positively states your willingness to comply with all work requirements and other terms and conditions as specified in this Solicitation.

  - Provides, in brief concise terms, a summation of your submittal and identifies the points that make your firm uniquely qualified for this project.

  - Is signed by an Authorized Representative of your firm who has the authority to commit to the proposed work.

- Provide documentation that satisfies the Required Document Requirements

- Provide documentation that satisfies the criteria to be reviewed.

- Provide the completed and signed Cover Sheet

- Addendum(s) Acknowledgement, if applicable

- Submission Form

- Details of the Consultant’s Experience and Qualifications as described in the Evaluation Criteria

- Sample Certificate of Insurance

- Universal Entity Identifier (UEI) Number

- Additional Attachments, if applicable

REMAINDER OF PAGE LEFT INTENTIONALLY BLANK

- REFERENCES / ATTACHMENTS:

- El Paso County Engineering Criteria Manual (ECM): https://library.municode.com/co/el_paso_county/codes/engineering_criteria_manual

- El Paso County Drainage Criteria Manual Volume 1 (DCM1): https://library.municode.com/co/el_paso_county/codes/drainage_criteria_manual?nodeId=DRCRMACOELPACO and Volume 1 Update: https://library.municode.com/co/el_paso_county/codes/drainage_criteria_manual?nodeId=VO1UP

- El Paso County Drainage Criteria Manual Volume 2 (DCM2): https://library.municode.com/co/el_paso_county/codes/drainage_criteria_manual?nodeId=DRCRMAVO2STQUPOPRBEMAPRBM

- El Paso County Land Development Code (LDC): https://library.municode.com/co/el_paso_county/codes/land_development_code

- El Paso County Major Transportation Corridors Plan: https://www.2045mtcp.com/

- El Paso County Ordinances & Resolutions: https://clerkandrecorder.elpasoco.com/clerk-to-the-board/el-paso-county-ordinances/

- El Paso County Stormwater Facility Maintenance Policy: https://library.municode.com/co/el_paso_county/codes/drainage_criteria_manual?nodeId=ELPACOSTDRFAMAPO

- US EPA Green Infrastructure: https://www.epa.gov/green-infrastructure/about-green-infrastructure

- Colorado Department of Local Affairs - Planning for Hazards / FHZs: https://planningforhazards.colorado.gov/fluvial-hazard-zones

- USGS Colorado HUC 8 Subbasins map: https://efotg.sc.egov.usda.gov/references/public/CO/CO_Subbasins(huc8).pdf

- CDPHE WQCD GIS Maps: https://cdphe.colorado.gov/clean-water-gis-maps

- EDARP Master Plan files: https://epcdevplanreview.com/Public/SearchResults?Prefix=MP

Incorporated / Adjacent / Surrounding Jurisdictions and Agencies

  - City of Colorado Springs Stormwater: https://coloradosprings.gov/design-permitting-and-training

  - COS Creek Plan: https://coscreekplan.org/

  - Town of Monument Master Plan information and links: https://www.townofmonument.org/395/Comprehensive-Plan---Monument-2040#

  - City of Fountain website: https://fountain.colorado.gov/business/planning-department

  - Manitou Springs Plans, Studies and Guidelines: https://www.manitouspringsco.gov/240/Plans-Studies-Guidelines

  - Fountain Creek Watershed District: https://www.fountain-crk.org/resources-04f929d

  - Upper Black Squirrel Creek Groundwater Management District Studies: https://upperblacksquirrelcreekwater.com/waterStudies.php

  - Cherry Creek Basin Water Quality Authority: https://www.cherrycreekbasin.org/

  - Chatfield Watershed Authority: https://www.chatfieldwatershedauthority.org/

  - Mile High Flood District: https://www.mhfd.org/

  - Douglas County Stormwater: https://www.douglas.co.us/public-works/stormwater/

  - Elbert County Standards: https://www.elbertcounty-co.gov/251/Road-Standards

  - Lincoln County: https://lincolncounty.colorado.gov/

  - Pueblo County: https://county.pueblo.org/public-works-department/stormwater

  - Fremont County: https://fremontcountyco.gov/

  - Teller County Standards: https://www.tellercounty.gov/269/Road-Design-Construction-Standards

# REQUEST FOR PROPOSAL #RFP-25-087      FEE SCHEDULE / FEE PROPOSAL

Fee Schedule: SUBMIT IN A SEPARATE SEALED ENVELOPE: The fee schedule shall be provided as a separate document in electronic envelope, independent of the technical proposal. The fee schedules will not be open until all technical evaluations have been completed and proposals have been ranked.

Please provide a detailed fee schedule similar to the format shown below that includes the following at minimum:

  - Names of Key Personnel.

  - Attach Subconsultant fee schedule(s) in similar format as shown on the fee schedule page.

  - Submit a comprehensive rate sheet.

  - Hourly rates, unit rates, and markups shall be a fixed rate and not a range.

  - A multiplier on personnel rates for overtime/off-hours work or fieldwork conducted using upgraded levels of personal protection (i.e., Level C, B, or A) will not be considered.

  - Non-labor expenses shall be listed at cost (no loading on non-labor).

  - List any additions or included Optional Tasks to Miscellaneous Expenses – be specific. Do not include costs for the optional tasks listed in RFP Section II.A in the proposed total project fee; a separate cost may be provided if desired.

|  |  | EXAMPLE |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| PROJECT NAME |  |  |  |  |  |  |
| Labor |  |  |  |  |  |  |
| PROJECT ROLE |  | Project Manager |  |  | SUBTOTAL HOURS BY TASK | SUBTOTAL FEE BY TASK |
| STAFF NAME |  | Smith |  |  |  |  |
| TITLE / LABOR CATEGORY OF KEY PERSONNEL |  | Professional III |  |  |  |  |
| BILLING RATE |  | $55.00 |  |  |  |  |
| 1 | TASK NAME 1 |  |  |  |  |  |
| 1.1 |  |  |  |  |  |  |
| 1.2 |  |  |  |  |  |  |
| 2 | TASK NAME 2 |  |  |  |  |  |
| 2.1 |  |  |  |  |  |  |
| 2.2 |  |  |  |  |  |  |
| 3 | TASK NAME 3 |  |  |  |  |  |
| 3.1 |  |  |  |  |  |  |
| Total Labor Hours |  |  |  |  |  |  |
| Total Labor Fee |  |  |  |  |  |  |
| Direct Expenses |  |  |  |  | $0.00 |  |
| Mileage |  |  |  |  |  | $0.00 |
| Equipment |  |  |  |  |  | $0.00 |
| OTHER |  |  |  |  |  | $0.00 |
| SubConsultants |  |  |  |  | $0.00 |  |
|  |  |  |  |  |  | $0.00 |
| Optional Tasks |  |  |  |  | $0.00 |  |
|  |  |  |  |  |  | $0.00 |
| TOTAL PROJECT FEE |  |  |  |  |  |  |

# REQUEST FOR PROPOSAL #RFP-25-087 SPECIAL TERMS AND CONDITIONS

- METHOD OF AWARD BEST EVALUATIVE SCORE BASED ON WRITTEN RESPONSE: It is the intent of the County to award this Solicitation to the Consultant who receives the highest score when the Responses submitted by interested Consultants are reviewed by the County's Response Evaluation Committee. For this Solicitation, the Evaluation Committee will score Responses based on the following criteria listed in no order of importance:

- Ability of Company’s Key Personnel (25%)

- Company’s Qualifications and Experience (25%)

- Understanding and Approach (35%)

- Fee Schedule (15%)

A more detailed description of these criteria can be found on Page 27 of this document.

Evaluation criteria, other than costs, are evaluated first. After rating the written Responses, costs are then considered against trade-offs such as satisfaction of requirements in the Solicitation, qualifications and financial condition of the Consultant, risk, and incentives.

If it is in the best interest of the County, the Evaluation Committee may invite a limited number of Consultants who received the highest scores during the written phase to provide an oral presentation and discussion. The number of Consultants who may be invited to participate in this discussion will be determined by the Evaluation Committee after the written Responses have been scored.

The County reserves the right to conduct negotiations with Consultants and to accept revisions of Responses. During this negotiation period, the County will not disclose any information derived from Responses submitted, or from discussions with other Consultants. Once an award is made, the Solicitation file and the Responses contained therein are in the public record.

- RATES DEFINED:  The rates quoted by the Consultant shall include full compensation for labor, equipment uses, travel time, and any other costs incurred by the Consultant. Hourly rates shall be straight-time for all labor. Overtime is not allowed under this Solicitation. Mileage rates shall be consistent with the current Federal rate at all times.

- POST INTENT TO AWARD MEETING: The Consultant may be required to attend a post intent to award meeting with the County to discuss the terms and conditions of the contract. This meeting will be coordinated by the Contracts and Procurement Division once a Notice of Intent to Award has been issued.

- DEBRIEFING: Offeror(s) not selected for award may request a debriefing on the selection process as well as discussion of the strengths and weaknesses of their firm’s proposal upon the Final Notice of Award being posted on the Rocky Mountain E-Purchasing website.

A debriefing may be scheduled by contacting the Procurement Specialist listed on the Cover Sheet of this Solicitation once the Final Notice of Award has been posted.

The County may consider any evidence available to it (including, but not limited to, the financial, technical, and other qualifications and abilities of the Consultant) in making the award in the best interests of the County.

- ELIGIBILITY OF CONSULTANTS:  Solicitations will only be considered from firms which are engaged in the business of performing services as described in this Solicitation. The Consultants must be able to produce evidence that they have an established satisfactory record of performance for a reasonable period of time and have sufficient financial support, equipment, and organization to ensure that they can satisfactorily execute the services if awarded a contract. The term equipment and organization as used herein shall be construed to mean a fully equipped and well-established company in line with the best business practices in the industry and as determined by the proper authorities of the County. The County reserves the right, before awarding the contract, to require a Consultant to submit such evidence of its qualifications as it may deem necessary and may consider any evidence available to it (including, but not limited to, the financial, technical, and other qualifications and abilities of the Consultant, including past performance and experience with the County) in making the award in the best interest of the County.

- QUALIFICATIONS OF CONSULTANT: The County may make such investigations as deemed necessary to determine the ability of the Consultant to perform the work, and the Consultant shall furnish all information and data for this purpose as the County requests. Such information includes but not limited to: current/maximum bonding capabilities, current licensing information, audited financial statements, contracts cancelled prior to completion and/or lawsuits and/or pending lawsuits against the firm and/or its principals. The County reserves the right to reject any Response if the evidence submitted by, or investigation of, such Consultant fails to satisfy the County that such Consultant is properly qualified to carry out the obligations of the Solicitation and to complete the work contemplated therein. Conditional Responses will not be accepted.

- VALUE ADDED PROPOSALS ENCOURAGED: El Paso County is interested in maximizing the impact of expenditures as it relates to achieving additional value that would further benefit the County and its operations, as well as its community of citizens and their taxed based funding. As such, Consultants are encouraged to consider, develop, and propose value added concepts, programs, and components that would further enhance the services/acquisition represented in this solicitation request. Suggestions for value added components include, but may not be limited to: recommendations for alternative methods or enhancements, additional items/services that may be provided to the County, etc.

- LOBBYING PROHIBITED: Consultants are prohibited from directly or indirectly communicating with members of the Board of County Commissioners regarding their qualifications or any other matter related to the eventual award of a contract for the goods and/or services requested in this Solicitation. Consultants are prohibited from contacting County employees or evaluation committee members regarding their qualifications or the award of a contract unless in response to an inquiry from an employee or committee member as part of the formal evaluation process outlined in the Solicitation. Any violation of these provisions will result in the Consultant’s immediate disqualification from the selection process.

- PAST PERFORMANCE: The County may review Past Performance with El Paso County or another entity and/or make such investigations as deemed necessary to determine the ability of the Consultant to perform work outlined in this solicitation. If the County has terminated a contract with the Consultant within the past three (3) years, the Consultant may be asked to furnish information for this investigation as the County requests. Such information includes but not limited to: current/past company references, current licensing information, history of the firm on assessments of liquidated damages, contracts cancelled prior to completion and/or lawsuits and/or pending lawsuits against the firm and/or its principals. The County reserves the right to reject any Response if the evidence submitted by, or investigation of, such Consultant fails to satisfy the County that such Consultant is properly qualified to carry out the obligations of the Solicitation and to complete the work contemplated herein. Conditional Responses will not be accepted.

- CONFLICTS WITHIN THE CONTRACT DOCUMENTS: In the event that conflicts exist within the Contract Documents, addenda shall supersede all other Contract Documents to the extent specified. Subsequent addenda shall supersede prior addenda only to the extent specified.

- CONSIGNMENT OF CONTRACT NOT ALLOWED: No part of this contract can be consigned to another Consultant.

- SUBCONSULTANTS OF WORK SHALL BE IDENTIFIED: As part of its Response, the Consultant shall be required to identify any and all Subconsultants that will be used in the performance of the contract resulting from this Solicitation. The Consultant shall also identify the capabilities, experience, and portion of the work to be performed by the Subconsultant(s). The competency of the Subconsultant(s) with respect to skill, responsibility and business standing shall be considered by the County when making the award in the best interest of the County.

- CURRENT PERMITS REQUIRED: Consultant must obtain and pay for all required permits, licenses, inspection fees, etc., and will comply with all laws, ordinances, and regulations associated with execution of the Project. Damages, penalties and/or fines imposed by the County on the Consultant for failure to obtain required permits, licenses, certificates or pay fees shall be borne by the Consultant. The Consultant shall enclose a current copy of their applicable permits, licenses, and inspection certificates with their Response.

- CURRENT LICENSES REQUIRED: Professional Consultants performing services in/for the County must show that they have been duly licensed by the jurisdiction/municipality where the work is being performed, if required by that jurisdiction/municipality, prior to being awarded a contract by the County.

- LABOR, MATERIALS AND EQUIPMENT TO BE SUPPLIED BY THE CONSULTANT: Unless otherwise provided in this Solicitation, the Consultant shall furnish all labor, materials, and equipment necessary for satisfactory contract performance. When not specifically identified in this Solicitation, such materials and equipment shall be of a suitable type and grade for the intended purpose.

- VARIATIONS ALLOWED IF INDICATED: For purposes of Response review, Consultants must indicate any variances to the Specifications, terms, and conditions, and attached Sample Agreement no matter how slight. If variations are not stated in the Consultant's Response, it shall be construed that the Response fully complies with the Specifications, terms, and conditions, and attached Sample Agreement. Notwithstanding the above, it is hereby agreed and understood that the County reserves the right to reject these variations if they individually, or as a whole, do not meet the standards established in the Specifications.

- ADDITIONAL SERVICES MAY BE PURCHASED DURING CONTRACT PERIOD: Although this Solicitation specifies specific services to be performed for the County, it is understood and agreed that the County may, during the term of the awarded contract, request additional services within the proximity of the Project limits from the successful Consultant. This option, if exercised, is the prerogative of the County.

- ACCIDENT PREVENTION: The Consultant shall be required to take safety precautions in an effort to protect persons and property. All Consultants, Consultants and sub-Consultants shall conform to all OSHA, State and County regulations while performing under the terms and conditions of the awarded contract.  Any fines levied by the above-mentioned authorities because of inadequate compliance with these requirements shall be borne solely by the Consultant which is responsible for same.

- DEFICIENCIES IN WORK TO BE CORRECTED BY CONSULTANT: The successful Consultant shall promptly correct all deficiencies in service and/or any work that fails to conform to the Contract Documents. All corrections shall be made immediately after such deficiencies and/or non-conformances are verbally reported to the Consultant by the County's Project Manager. The Consultant shall bear all costs of correcting such rejected work. If the Consultant fails to correct the work within the period specified in this Solicitation, the County reserves the right to place the Consultant in default of its contractual obligations, obtain the services of another Consultant and charge the Consultant for these costs, either through a deduction from the final payment over to the Consultant or through invoicing.

- REPRESENTATIVE SHALL BE SUPPLIED BY CONSULTANT: The successful Consultant shall employ a dedicated competent representative who shall be the primary contact for the Consultant and all communications given to, and all decisions made by the representative shall be binding to the Consultant. Notwithstanding, the representative shall be considered to be, at all times, an employee of the Consultant under its sole direction and not an employee or agent of the County.  This dedicated representative shall be responsible for scheduling regular meetings with the County’s project team. The successful Consultant will assign a competent backup representative to the County’s account as well.

- COMPLETION OF WORK: The Consultant shall adhere to the timeline and milestones provided in its Response in which it will commit to perform the work and/or service. All work shall be performed in accordance with good commercial practice and the timeline and milestones shall be adhered to by the successful Consultant, except in such cases where the timeline will be delayed due to acts of God, strikes, or other causes beyond the control of the Consultant. In these cases, the Consultant shall notify the County of the delays in advance of the original timeline so that a revised timeline can be negotiated. Should the Consultant to whom the contract is awarded fail to complete the work within the timeline as stated in its Response or as subsequently approved, it is hereby agreed and understood that the County reserves the right to cancel the contract with the Consultant and to secure the services of another Consultant to complete the work. If the County exercises this right, the County shall be responsible for reimbursing the Consultant for work which was completed and found acceptable to the County in accordance with the Specifications.   In addition, the County may, at its sole discretion, request payment from the Consultant, through an invoice or credit memo, for any additional costs over and beyond the original price which were incurred by the County as a result of having to secure the services of another Consultant.

- METHOD OF PAYMENT: The successful Consultants shall submit monthly invoices. These invoices shall be submitted to the County's Project Manager.

- SALES TAX: The County is exempt from paying State or Local Sales Taxes. Consultants should be aware of CONSULTANT APPLICATION FOR EXEMPTION CERTIFICATE Pursuant to Statute Section 39- 26.708(1)(a)(XIX) sales tax exemption for construction and building materials. State tax I.D. # 09-803308- 0000, Federal tax I.D. # 84-6000764.

- INDEMNIFICATION: Indemnification – General. The Consultant shall, to the fullest extent permitted by law, defend, indemnify and hold harmless the County, Board of County Commissioners, officials, officers, directors, and employees, from and against all liability, claims, demands, suits, actions or proceedings of any kind that are not the result of or directly related to the performance of professional services, including, without limitation, claims arising from bodily injury, personal injury, sickness, disease, death, property loss or damage, which arise out of or are in any manner connected with this Agreement, including workers' compensation claims, in any way resulting from or arising from the services rendered by the Consultant, its employees, agents or Subconsultants, or others for whom the Consultant is legally liable, under this Agreement; provided, however, that the Consultant need not indemnify or save harmless the County Board of County Commissioners, its officers, agents and employees, from damages resulting from the negligence of the County's Board of County Commissioners, officials, officers, directors, agents, and their insurers, and employees. The County cannot and by this Agreement does not agree to indemnify, hold harmless, exonerate, or assume the defense of the Consultant or any other person or entity whatsoever, for any purpose whatsoever.

Indemnification for Professional Services. The Consultant shall, to the fullest extent permitted by law, indemnify and hold harmless the County, Board of County Commissioners, and any of its officials, officers, directors, agents, and their insurers, and employees, from and against damages, liability, losses, costs and expenses, including reasonable attorney’s fees, but only to the extent caused by or arising out of the negligent acts, errors or omissions of the Consultant, its employees, agents or subconsultants, or others for whom the Consultant is legally liable, in the performance of professional services under this Agreement. The Consultant is not obligated to indemnify or hold harmless the County for the negligent acts of the County, Board of County Commissioners, or any of its officials, officers, directors, agents, and employees.

Indemnification – Costs. The Consultant shall, to the extent provided by law, investigate, handle, respond  to, and provide defense for and defend against, any such liability, claims or demands at the sole expense of the Consultant or, at the option of the County, agrees to pay the County or reimburse the County for the defense costs incurred by the County in connection with any such liability, claims or demands. The Consultant shall, to the extent provided by law, bear all other costs and expenses related thereto, including court costs and attorney fees, whether or not any such liability, claims or demands alleged are groundless, false or fraudulent. If it is determined by the final judgment of a court of any competent jurisdiction that such injury, loss or damage was caused in whole or in part by the act, omission or other fault of the County, Board of County Commissioners, officials, officers, directors, agents and employees, the County shall

reimburse the Consultant for the portion of the judgment attributable to such act, omission or other fault of the County, Board of County Commissioners, officials, officers, directors, agents and employees.

- FEDERAL STANDARDS COMPLIANCE: All services to be purchased in conjunction with this Solicitation shall be in accordance with all governmental standards to include, but not be limited to, those issued by the Office of Safety and Health Administration (OSHA), the National Institute of Occupational Safety Hazards (NIOSH), and the National Fire Protection Association (NFPA).

- EQUAL OPPORTUNITY: El Paso County intends and expects that the contracting processes of the  County and its Consultants provide equal opportunity without regard to gender, race, creed, ethnicity, religion, age, sex, national origin, or disability and that its Consultants make available equal opportunities to the extent third parties are engaged to provide goods and services to the County as subconsultants, consultants, or otherwise. Accordingly, the Consultant shall not discriminate on any of the foregoing grounds in the performance of the contract and shall make available equal opportunities to the extent third parties are engaged to provide goods and services in connection with performance of the contract (joint ventures are encouraged).The Consultant shall disseminate information regarding all subcontracting opportunities under this contract in a manner reasonably calculated to reach all qualified potential subconsultants who may be interested. The Consultant shall maintain records demonstrating its compliance with this article and shall make such records available to the County upon the County’s request.

- PURCHASE BY OTHER GOVERNMENTAL AGENCIES: Each governmental unit which avails itself of this Solicitation will establish its own contact, place its own orders, issue its own purchase orders, be invoiced there from, and make its own payments and issue its own exemption certifications as required by the Consultant. It is understood and agreed that El Paso County is not a legally binding party to any contractual agreement made between any other governmental unit and the Consultant as a result of this Solicitation.

- PROOF OF REGISTRATION WITH THE COLORADO SECRETARY OF STATE: Successful vendors that are corporations or limited liability companies will be required to furnish a Certificate of Good Standing from the Colorado Secretary of State’s Office, as proof that they are properly registered to do business in the State of Colorado, prior to finalization of award.

- CONFIDENTIALITY: Responses to this Solicitation are considered to be working documents while they are under consideration and, as such, are not subject to official bid openings. In consideration of this Invitation for Bids that is cost driven, the only information that will be released is the names of the respondents, the total cost of the bids, and the apparent responsible, responsive Consultant. Only after staff makes an  official recommendation of award and a contract is fully executed will Responses to this Bid be available as public record.

Responses submitted to the County for consideration shall be subject to the Colorado Open Records Law, Section 24-72-201, et seq., C.R.S., after award is made. Any confidential information in the Consultant’s Response shall be identified as such. Should the County receive a request for the release of any information in the Consultant’s Response identified as confidential in accordance with the open records law, the County will notify the Consultant of the request and will exercise best efforts in assisting the Consultant in taking all legally available steps to resist or narrow such request. If, in the opinion of County’s legal counsel, the County is nonetheless compelled to disclose any portion of such information to anyone or else stand liable for contempt or suffer censure or penalty, the County may disclose such information without liability.

- GRATUITIES AND KICKBACKS: It shall be a breach of ethical standards for any person to offer, give, or agree to give any employee or former employee (within six months of termination from County employment), or for any employee or former employee (within six months of termination from County employment) to solicit, demand, accept, or agree to accept from another person, a gratuity or an offer of employment in connection with any decision, approval, disapproval, recommendation, preparation of any part of a program requirement or a purchase request, influencing the content of any specification or procurement standard, rendering of advice, investigation, auditing, or in any other advisory capacity in any proceeding of application, request for ruling, determination, claim or controversy, or other particular matter, pertaining to any program requirement or a contract or subcontract, or to any solicitation or bid therefore.

It shall be a breach of ethical standards for any payment, gratuity, or offer of employment to be made by or on behalf of a Subconsultant under a contract to the prime Consultant or higher tier Subconsultant or any person associated therewith, as an inducement for the award of a subcontract or order. In the event that any gratuities or kickbacks are offered or tendered to any El Paso County employee, the bid shall be disqualified and shall not be reinstated.

- DEBARMENT:  By submitting this bid/proposal, the bidder/proposer warrants and certifies that he/she is eligible to submit a bid/proposal because he/she is not presently debarred, suspended, proposed for debarment, declared ineligible, or voluntarily excluded from participation in a transaction by any Federal, State, or local department or agency.

- BUDGET: Budget will not be disclosed.

- LOGOS: The County logo is trademarked and property solely of El Paso County. Consultants do not have permission to use our logo on any documentation or presentation materials and to do so would be a violation of our trademark. We also prefer your company does not utilize its trademark so as to not  influence an evaluator’s review.

REMAINDER OF PAGE LEFT INTENTIONALLY BLANK

REQUEST FOR PROPOSAL #RFP-25-087 GENERAL TERMS AND CONDITIONS

- APPLICABILITY. These General Terms and Conditions apply, but are not limited, to all bids, proposals, qualifications and quotations (hereinafter referred to as “Offers” and/or “Responses”) made to El Paso County (hereinafter referred to as "County") by all prospective suppliers (herein after referred to as "Consultants") in response but not limited to Invitations to Bid, Invitations for Bid, Requests for Proposal, Statements of Qualification, and Requests for Quotation (hereinafter referred to as “Solicitations”).

# CONTENTS OF OFFER

  - General Conditions. Consultants are required to submit their Offers in accordance with the following expressed conditions:

    - Consultants shall make all investigations necessary to thoroughly inform themselves regarding the plant and facilities affected by the delivery of materials and equipment as required by the conditions of the Solicitation. No plea of ignorance by the Consultant of conditions that exist or that may hereafter exist as a result of failure to fulfill the requirements of the contract documents will be accepted as the basis for varying the requirements or the compensation to the Consultant.

    - Consultants are advised that all County contracts are subject to all legal requirements contained in County ordinances, the Contracts and Procurement policies and state and federal statutes. When conflicts between the Solicitation and these legal documents occur, the highest authority will prevail.

    - Consultants are required to state exactly what they intend to furnish to the County via this Solicitation and must indicate any variances to the terms, conditions, and specifications of this Solicitation no matter how slight. If variations are not stated in the Consultant’s Offer, it shall be construed that the Consultant’s Offer fully complies with all conditions identified in this Solicitation.

    - El Paso County intends and expects that the contracting processes of the County and its Consultants provide equal opportunity without regard to race, color, religion, sex, national origin, age, disability, or any other characteristic protected by law. Accordingly, the Consultant shall not discriminate on any of the foregoing grounds in the performance of the contract.

    - All Offers and other materials submitted in response to this Solicitation shall become the property of the County and will be a matter of public record. Consultants must identify, in writing, all copyrighted material, trade secrets and/or other proprietary information that it claims are exempt from disclosure under the Open Records Act.

    - Any Consultant claiming an exemption must identify the specific provision of the Open Records Act that provides an exemption from disclosure for each item that the Consultant claims is not subject to disclosure and must submit an additional bound copy of the Response with each exempt item clearly redacted. Any Consultant claiming an  exemption must also state in its Response that the Consultant agrees to defend, indemnify, and hold harmless the County and its officers and employees from any action brought against the County for its refusal to disclose any purportedly exempt material, trade secrets and other proprietary information to any party making a request therefore.

Any Consultant who fails to include an exemption statement along with the additional redacted copy of the Response shall be deemed to have waived any right to an exemption from disclosure as provided by the Open Records Act.

# Clarification and Modifications in Terms and Conditions

    - Where there appear to be variances or conflicts between the General Terms and Conditions, the Special Terms and Conditions and the specifications outlined in this Solicitation, the specifications then the Special Terms and Conditions will prevail.

    - If any Consultant contemplating submitting an Offer under this Solicitation is in doubt as to the true meaning of the specifications, the Consultant must submit a written request for clarification to the County's Contracts and Procurement Manager or their designee as outlined in the Special Terms and Conditions. The Consultant submitting the request  shall be responsible for ensuring that the request is received by the County’s buyer by the date and time listed in the Schedule of Activities for submitting question(s) or as stated in the Special Terms and Conditions.

Any official interpretation of this Solicitation must be made by the County's Contracts and Procurement Manager or their designee. The County shall not be responsible for interpretations offered by other employees of the County.

The County shall issue a written addendum if substantial changes which impact the submission of Offers are required. Addenda will be posted on the Rocky Mountain E- Purchasing System web site (http://www.rockymountainbidsystem.com) as well as El Paso County web site (http://www.elpasoco.com). Consultants are responsible for either revisiting one of these websites prior to the due date or contacting the Contracts and Procurement Manager or their designee named on the Cover Sheet of this Solicitation to ensure that they have any addenda which may have been issued after the initial download.

The Consultant shall certify its acknowledgment of the addendum by signing the addendum and returning it with its Offer. In the event of conflict with the original contract documents, addenda shall govern all other contract documents to the extent specified. Subsequent addenda shall govern over prior addenda only to the extent specified.

# Prices Contained in Offer-Discounts, Taxes, Collusion

    - It is hereby understood and agreed that the payment terms shall be net thirty days, effective on the date that the County receives an accurate invoice or accepts the

products, whichever is the later date. Payment is deemed to be made on the date of the mailing of the check.

    - Consultants shall not include federal, state, or local excise or sales taxes in prices offered, as the County is exempt from payment of such taxes. Materials purchased directly by the Consultant in conjunction with this contract will, however, be subject to applicable state and local sales taxes. These taxes shall be borne by the Consultant. Under no circumstances shall Consultant be authorized to use the County’s tax exemption number in acquiring such materials.

    - The Consultant, by affixing its signature to this Solicitation, certifies that its Offer is made without previous understanding, agreement, or connection either with any persons, firms or corporations making an Offer for the same items, services, or with the County. The Consultant also certifies that its Offer is in all respects fair, without outside control, collusion, fraud, or otherwise illegal action. To ensure integrity of the County's public procurement process, all Consultants are hereby placed on notice that any and all Consultants who falsify the certifications required in conjunction with this section will be prosecuted to the fullest extent of the law.

# PREPARATION AND SUBMISSION OF OFFER

  - Preparation

    - El Paso County will not be responsible for any expenses incurred by any Consultant in preparing and submitting its offer.

    - The Offer must be typed or legibly printed in ink. The use of erasable ink is  not permitted. All corrections made by the Consultant must be initialed in blue ink by the authorized agent of the Consultant.

    - Offers must contain, in blue ink, a manual signature of an authorized agent of the Consultant or a verifiable electronic time and date stamped signature in the space provided on the Solicitation Cover Sheet. Typed names as signatures are not  allowed. The original Cover Sheet of this Solicitation must be included in all Offers.  If  the Consultant’s authorized agent fails to appropriately sign and return the original Cover Sheet of the Solicitation, its Offer shall be invalid and shall not be considered.

    - Prices shall be provided by the Consultant on the Solicitation’s Pricing Bid Form when required in conjunction with the prescribed method of award and shall be for the unit of measure requested. Prices that are not in accordance with the measurements and descriptions requested shall be considered non-responsive and shall not be considered. Where there is a discrepancy between the unit price and the extension of prices, the unit price shall prevail.

    - Alternate Offers will not be considered unless expressly permitted in the Specifications and/or Special Terms and Conditions.

    - The accuracy of the Offer is the sole responsibility of the Consultant. No changes in the Offer shall be allowed after the date and time that the Offers are due.

# Submission

    - The Offer shall be submitted via the Rocky Mountain E-Purchasing System with the Consultant’s name, the Solicitation Number, and the Solicitation Title. When required in conjunction with the prescribed method of award, the County's Pricing Bid Form must be used when the Consultant is submitting its Offer. The Consultant shall not alter this form (e.g., add or modify categories for posting prices offered) unless expressly permitted in an addendum duly issued by the County. No other form shall be accepted.

    - Offers submitted via facsimile machines, mail, or email will not be accepted unless expressly permitted in the solicitation.

    - Conditional offers will be considered non-responsive and not considered for award.

  - Late Offers. Offers received after the date and time set for the opening will not be authorized to enter into the electronic lockbox and will be deemed as non-responsive.

# MODIFICATION OR WITHDRAWAL OF OFFERS

  - Modifications to Offers. Offers may only be modified in the form of a written notice on company letterhead and must be received prior to the time and date set for the Offers to be opened. Each modification submitted to the County’s Contracts and Procurement Division must have the Consultant’s name and return address and the applicable Solicitation number and title clearly marked and shall be submitted via Rocky Mountain E-Purchasing System. If more than one modification is submitted, the modification bearing the latest date of receipt by the County’s Contracts and Procurement Division will be considered the valid modification.

# Withdrawal of Offers

    - Offers may be withdrawn prior to the time and date set for the opening. Such requests must be made in writing on company letterhead.

    - In accordance with the Uniform Commercial Code, Offers may not be withdrawn after the time and date set for the opening for a period of ninety calendar days after the opening.  If an Offer is withdrawn by the Consultant during this ninety-day period, the County may, at its option, suspend the Consultant from the bid list and may not accept any Offer from the Consultant for a six-month period following the withdrawal.

# REJECTION OF OFFERS

  - Rejection of Offers. The County may, at its sole and absolute discretion:

    - Reject any and all, or parts of any or all, Offers submitted by prospective Consultants;

    - Re-advertise this Solicitation;

    - Postpone or cancel the process;

    - Waive any irregularities in the Offers received in conjunction with this Solicitation; and/or

    - Determine the criteria and process whereby Offers are awarded. No damages shall be recoverable by any challenger as a result of these determinations or decisions by the County.

  - Rejection of a Particular Offer. The County may reject an offer under any of the following conditions:

    - The Consultant misstates or conceals any material fact in its Offer;

    - The Consultant’s Offer does not strictly conform to the law or the requirements of the Solicitation;

    - The Offer expressly requires or implies a conditional award that conflicts with the method of award stipulated in the Solicitation’s Special Terms and Conditions and/or specifications;

    - The Offer does not include documents, including, but not limited to, certificates, licenses, and/or samples, which are required for submission with the Offer in conjunction with the Solicitation’s Special Terms and Conditions and/or specifications; or

    - The Offer has not been executed by the Consultant through an authorized signature on the Specification’s Cover Sheet.

# Elimination from Consideration

    - To ensure fair consideration for all Consultants, the County prohibits communication initiated by a Consultant or on a Consultant’s behalf regarding the Solicitation to or with any County official or employee during the submission process, except as expressly set forth in this Solicitation. In addition, the County prohibits communications initiated by a Consultant or on a Consultant’s behalf to or with any County official or employee evaluating or considering the solicitation prior to the time an award decision has been made. Prohibited communications initiated by a Consultant shall be grounds for eliminating the offending Consultant from consideration for award.

    - An Offer may not be accepted from, nor any contract be awarded to, any person or firm which is in arrears to the County upon any debt or contract or which is a defaulter as surety or otherwise upon any obligation to the County.

    - An Offer may not be accepted from, nor any contract awarded to, any person or firm which has failed to perform faithfully any previous contract with the County, state, or federal government, for a minimum period of three years after this previous contract was terminated for cause.

- AWARD OF CONTRACT. El Paso County and the successful Consultant shall execute the Professional Services Consultant Agreement (see Attachment B) to consummate a contract between the parties. This Solicitation and the Consultant’s Offer shall be attached and incorporated as part of that contract.

# CONTRACTUAL OBLIGATIONS

  - Local, State and Federal Compliance Requirements. Successful Consultants shall be familiar and comply with all local, state, and federal directives, ordinances, rules, orders, and laws applicable to, and affected by, this contract including, but not limited to, Equal Employment Opportunity (EEO) regulations, Occupational Safety and Health Act (OSHA), and Title II of the Americans with Disabilities Act (ADA).

- Accessibility Indemnification: Consultant shall indemnify, save, and hold harmless the Indemnified Parties, against any and all costs, expenses, claims, damages, liabilities, court awards and other amounts (including attorneys’ fees and related costs) incurred by any of the Indemnified Parties in relation to Consultant’s failure to comply with §§24-85-101, et seq., C.R.S., or the Accessibility Standards for Individuals with a Disability as established by OIT pursuant to Section §24-85-103 (2.5), C.R.S.

- Accessibility: Consultant shall comply with and the Work Product provided under this Contract shall be in compliance with all applicable provisions of §§24-85-101, et seq., C.R.S., and the Accessibility Standards for Individuals with a Disability, as established by OIT pursuant to Section §24-85-103 (2.5), C.R.S. Consultant shall also comply with all State of Colorado technology standards related to technology accessibility and with Level AA of the most current version of the Web Content Accessibility Guidelines (WCAG), incorporated in the State of Colorado technology standards.

  - Disposition. The Consultant shall not assign, transfer, convey, sublet, or otherwise dispose of this contract, including any or all of its right, title or interest therein, or its power to execute such contract to any person, company, or corporation, without prior written consent of the County.

  - Employees.

    - All employees of the Consultant shall be considered to be, at all times, employees of the Consultant, under its sole direction, and not employees or agents of the County. The County may require the Consultant to remove an employee it deems careless, incompetent, insubordinate or otherwise objectionable, and whose continued employment on County property is not in the best interest of the County. In accordance with the County’s policy regarding the use of tobacco products, no employee of the Consultant shall be permitted to use tobacco products when performing work on County property.

  - Workers’ Compensation Insurance. Each Consultant and Subconsultant shall maintain at his own expense until completion of his work and acceptance thereof by the County, Workers’ Compensation Insurance, including occupational disease provisions, covering the obligations of the Consultant or Subconsultant in accordance with the provisions of the laws of the State of Colorado. The Consultant shall furnish the County with a certificate giving evidence that he is covered by the Workers’ Compensation Insurance herein required, each certificate specifically stating that such insurance includes occupational disease provisions and provisions preventing cancellation without ten days’ prior notice to the County in writing.

  - Delivery. Prices, quotes, and deliveries are to be FOB destination, freight prepaid, and shall require inside delivery unless otherwise specified in the Solicitation’s Special Terms and Conditions. Title and risk of loss shall pass to the County upon inspection and acceptance by the County at its designated point of delivery, unless otherwise specified in the Special Terms and Conditions. In the event that the Consultant defaults on its contract or the contract is terminated for cause due to performance, the County reserves the right to re-procure the materials or services from the next lowest Consultant or from other sources during the remaining term of the terminated/defaulted contract. Under this arrangement, the County shall charge the Consultant any difference between the Consultant’s price and the price to be paid to the next lowest Consultant, as well as any costs associated with the re-solicitation effort.

  - Material or Service Priced Incorrectly. As part of any award resulting from this process, Consultant(s) will discount all transactions as agreed. In the event the County discovers, through its contract monitoring process or formal audit process, that material or service was priced incorrectly, Consultant(s) agree to promptly refund all overpayments and to pay all reasonable audit expenses incurred as a result of the non-compliance.

- CONTRACT MODIFICATIONS. Terms and conditions may be added, modified, and deleted upon mutual agreement between the County and the Consultant provided that such terms and conditions remain within the scope and original intent of the Solicitation. Said terms and conditions may include, but are not limited to, additions or deletions of service levels and/or commodities and/or increases or decreases in the time limits for an existing contract. Any and all modifications must be expressed in writing through a Contract Modification Order (CMO) and/or Amendment and executed by authorized agents of the County and the Consultant prior to the enactment of such modifications.

# TERMINATION OF CONTRACT

  - Failure to perform. The County may, by written notice to the successful Consultant, terminate the contract if the Consultant has been found to have failed to perform its service in a manner satisfactory to the County as per specifications, including delivery as specified. The date of termination shall be stated in the notice. The County shall be the sole judge of non-performance.

  - Reasons other than cause. The County may cancel the contract upon thirty days written notice for reason other than cause. This may include the County's inability to continue with the contract due to the elimination or reduction of funding.

- CONTRACTOR

# REQUEST FOR PROPOSAL #RFP-25-087 CONSULTANT INFORMATION

  - Legal Name of Company

  - Business Name or DBA (if different)

- LOCAL COLORADO ADDRESS (IF APPLICABLE)

  - Street Address

  - City/State/Zip

- ORDER ADDRESS

  - Street Address

  - City/State/Zip

  - Online (website)

- PAYMENT ADDRESS

  - Street Address

  - City/State/Zip

- CONTACT INFORMATION

  - Name/Title

  - Telephone Number:

  - Toll Free Number:

  - Fax Number:

  - Email Address:

- TAXPAYER IDENTIFICATION NUMBER

- OWNERSHIP STATUS (check all that apply)	   Corporation	   Partnership

Governmental Agency	   Sole Proprietorship

o   Individual	o   Other

Non-Profit

- PRIMARY BUSINESS CLASSIFICATION	   Broker	   Retailer

Distributor	   Service Provider

Jobber	   Subcontractor (trades)

Manufacturer	   Wholesaler

o   Prime Contractor (trades)	o   Other

- OFFICERS, OWNERS, PARTNERS	Name/Title

Name/Title

- COMPANY PROFILE

  - Date Firm Was Established

  - Under the Laws of What State

  - Number of Employees

  - Approximate Yearly Sales Volume

- PRIMARY PLACE OF BUSINESS	   Home	   Office/Warehouse

Office Building	   Warehouse

o   Office Complex	o   Other

- STAFF EXPERIENCE (key members of your company’s staff who will be assigned to this project)

  - Name/Position	Year Hired

Years in Present Position	Years of Industry Experience

  - Name/Position	Year Hired

Years in Present Position	Years of Industry Experience

  - Name/Position	Year Hired

Years in Present Position	Years of Industry Experience

  - Name/Position	Year Hired

Years in Present Position	Years of Industry Experience

  - Name/Position	Year Hired

Years in Present Position	Years of Industry Experience

- RELEVANT PROJECTS AND REFERENCES

(customers similar to El Paso County to whom services similar in size and scope have been provided)

  - Project Name	Project Location

LineProject Scope

Services provided by Bidder

Percentage of work by Bidder	Project Timeline	Contract Amount

Company Name	Contact/Title

Address 	City/State /Zip

Telephone 		Email

  - Project Name	 Project Location

Project Scope

Services provided by Bidder

Percentage of work by Bidder	Project Timeline	Contract Amount

Company Name	Contact/Title

Address	 City/State /Zip

Telephone 		 Email

RELEVANT PROJECTS AND REFERENCES (CONTINUED)

  - Project Name	Project Location

Project Scope

Services provided by Bidder

Percentage of work by Bidder	Project Timeline	Contract Amount

Company Name	 Contact/Title

Address	City/State /Zip

Telephone 		Email

  - Project Name	Project Location

Project Scope

Services provided by Bidder

Percentage of work by Bidder	 Project Timeline	Contract Amount

Company Name	Contact/Title

Address	City/State /Zip

Telephone 		  Email

  - Project Name	Project Location

Project Scope

Services provided by Bidder

Percentage of work by Bidder		Project Timeline	Contract Amount

Company Name	Contact/Title

Address	 City/State /Zip

Telephone 		Email

- BONDING. Is your firm able to obtain bonding up to and including an amount equal to the estimated project cost?

Yes      No

- INSURANCE. Is your firm able to obtain insurance as specified in the Special Terms and Conditions of this RFP?

Yes      No

- PURCHASE ORDERS. Do you accept purchase orders?

Yes      No

- CREDIT CARDS. Do you accept credit cards without charging a fee?

Yes      No

- INFORMATION (if you answer “yes” to any of the following questions, attach a separate page explaining your response clearly labeled with the corresponding question number).

  - In the past five years, has there been any change in ownership of your company?

Yes      No	(if “yes,” attach explanation labeled 18a)

  - In the past five years, has your firm operated under any other name?

Yes      No	(if “yes,” attach explanation labeled 18b)

  - Are any corporate officers, owners or partners currently connected with any other firm in the same line of business?

Yes      No	(if “yes,” attach explanation labeled 18c)

  - In the past five years, has your firm been in bankruptcy?

Yes      No	(if “yes,” attach explanation labeled 18d)

  - In the past five years, has your firm been assessed and paid liquidated damages?

Yes      No	(if “yes,” attach explanation labeled 18e)

  - In the past five years, has your firm, or any firm with which your company’s officers, owners or partners are associated, been barred, disqualified, removed, or otherwise prevented from bidding on, or competing for any government project for any reason?

Yes      No	(if “yes,” attach explanation labeled 18f)

  - In the past five years, has your firm been denied an award of any contract based on a finding by a public agency that your company was not a responsible bidder?

Yes      No	(if “yes,” attach explanation labeled 18g)

  - In the past five years, has any claim against your firm concerning your firm’s work on a project been filed in court or arbitration?

Yes      No	(if “yes,” attach explanation labeled 18h)

  - Has your firm made any claim against a project owner concerning work on a project or payment for a contract and filed that claim in court or arbitration?

Yes      No	(if “yes,” attach explanation labeled 18i)

  - Has your firm, or any of its officers, owners, or partners, ever been found liable in a civil suit or found guilty in a criminal action for making any false claim or material misrepresentation to any public agency or entity?

Yes      No	(if “yes,” attach explanation labeled 18j)

  - Has your firm, or any of its officers, owners, or partners, ever been convicted of a crime involving any federal, state, or local law related to your business dealings?

Yes      No	(if “yes,” attach explanation labeled 18k)

  - Has your firm, or any of its officers, owners, or partners, ever been convicted of a federal or state crime of fraud, theft, or any other act of dishonesty?

Yes      No	(if “yes,” attach explanation labeled 18l)

  - In the past five years, has any surety company made any payments on your firm’s behalf as result of a default, to satisfy any claims made against a performance or payment bond issued on your firm’s behalf?

Yes      No	(if “yes,” attach explanation labeled 18m)

  - Has your firm ever been denied bond coverage by a surety company, or has there ever been a period of time when your firm had no surety bond in place during a project when one was required?

Yes      No	(if “yes,” attach explanation labeled 18n)

  - Have you ever had insurance terminated by a carrier?

Yes      No	(if “yes,” attach explanation labeled 18o)

  - In the past five years, has any insurance carrier, for any form of insurance, refused to renew an insurance policy for your firm?

Yes      No	  (if “yes,” attach explanation labeled 18p)

q	In the past five years, has OSHA cited and assessed penalties against your firm?

Yes      No	(if “yes,” attach explanation labeled 18q)

- Licenses. Does your company have current and valid licenses for the services being requested? Please provide copies.

Yes      No	(if “yes,” attach licenses labeled 18)

- Certification. The undersigned hereby affirms (1) that he/she is a duly authorized agent of the Contractor and (2) that the information submitted in/with this form is true and correct. Any information submitted herein that is later found to be false shall serve as grounds for disqualifying the Contractor’s Response.

  - Printed Name:

  - Printed Title:

  - Firm Name:

  - Address:

  - City, State, Zip:

  - Telephone:

  - Fax:

  - E-mail:

Authorized Representative’s Signature:

Attach all requested exhibit items to the end of this document and clearly label each exhibit with the corresponding question nu

# REQUEST FOR PROPOSAL #RFP-25-087 PROPRIETARY / CONFIDENTIAL STATEMENT

‘I/We acknowledge that subsequent to award of this solicitation, all of, or part of this submittal may be released to any person or firm who may request I, as prescribed by the State of Colorado Open Records Act CRS 24-72-201 et seq., as amended, and that:

None of this submittal is considered proprietary and/or confidential

# OR

The portions/pages of this submittal identified below are proprietary and/or confidential for the reasons stated (cite the specific exemptions allowed by the Colorado Open Records Act/Government Code). A clearly identified redacted softcopy of the original Response is required if this section is selected.

Page:	Code:	Reason:

# General reference to Freedom of Information Act (FOIA) or Colorado Open Records Act (CORA) is not sufficient justification. The County has the final discretion in determining whether information is subject to disclosure under CORA.

I/We acknowledge that the above statements may be subject to legal review and challenge.

Signature below indicates that applicant has read all the information provided above and agrees to comply in full. This form is considered as a section of the Request for Proposal, RFP-25-087 and therefore, this signed document shall be considered and fully submitted with the original package.

Authorized Representative’s Signature	Date

Printed Name	Title

# REQUEST FOR PROPOSAL #RFP-25-087        NO BID STATEMENT

El Paso County values your input. Your input assists us in building competitive solicitations and ensuring our solicitations are cutting edge and relevant. Please spend a few minutes to complete this form and return it to the Contracts and Procurement Division.

Please send to:	El Paso County

Cody Walters, Associate Procurement Specialist

RFP-25-087: El Paso County Stormwater Master Drainage Plan

CodyWalters@elpasoco.com

Specifications too “strict” (i.e. – geared toward one brand or manufacturer only, etc.). Please explain.

Specifications are unclear. Please explain.

Other. Please explain in detail.

- We are unable to meet specifications

- Insufficient time to respond to the solicitation

- Our schedule would not permit us to perform within the required time

- We are unable to meet insurance and/or bonding requirements

- We do not offer this product or service

PRINT OR TYPE YOUR INFORMATION

Company Name:	Fax:

Address:	City/State/Zip:

Contact Person:	Title:

Email:	Phone:

Authorized Representative’s Signature:	Date:

Printed Name:	 Title:

Email:	Phone:

# REQUEST FOR PROPOSAL #RFP-25-087 SUBMISSION FORM

ELECTRONIC SUBMISSION OF OFFERS: El Paso County will only accept electronic bid Responses submitted through the Rocky Mountain E-Purchasing system. A Submittal Log will be posted after the County has had an opportunity to review and verify the submittals offered to the County.

The original Offer must be received before the due date and time through an electronic package transmitted through the Rocky Mountain E-Purchasing system. The Consultant is responsible for ensuring its Response is posted by the due date and time outlined in the solicitation document.

If the submittal arrives late, it will not be included in the electronic lockbox.

ALL signatures on required documents must be in blue ink or a verifiable electronic time and date stamped signature

# Consultant shall check () to confirm that the following documentation has been submitted:

- Signed Cover Sheet from this Solicitation

- Consultant Information Form

- Proprietary / Confidential Statement

- Signed copies of any addenda issued regarding this Solicitation

- Exhibit 1, 2, 3, 4

- Work Plan and Schedule

- Evaluation Criteria Documentation

Does your offer comply with all of the terms and conditions of this solicitation and the attached Agreement?

Yes	No	If not, indicate exceptions on Exhibit 1.

Does your offer meet or exceed all of the specifications of this solicitation and the attached Agreement?

Yes	No	If not, indicate exceptions on Exhibit 1.

# Consultant’s response to the following question will not be considered in awarding this Solicitation.

El Paso County actively participates in purchasing between and among government agencies to combine purchasing power and resources and to obtain lower costs of procurement for quality goods and services. As such, we hereby request that other agencies of government be permitted to avail themselves of any award resulting from this solicitation and purchase any and all items specified herein from the successful Consultant(s) at the contract price(s) established herein. Each agency would establish its own contract, issue its own orders, be invoiced therefrom, make its own payments, and issue its own exemption certificates as required by the Consultant. It is understood and agreed that El Paso County would not be a legally binding party to any contractual agreement made between any other agency and the Consultant as a result of this Solicitation.

# May other units of government avail themselves of this contract and purchase any and all items specified.

Yes	No

# EXHIBIT 1: EXCEPTIONS

REQUEST FOR PROPOSAL #RFP-25-087 EXHIBIT 1 – EXCEPTIONS FORM

Print the words "no exceptions"(here)                                                     if there are no exceptions taken to any of the terms, conditions, or specifications of these Response documents or contract.

If there are exceptions taken to any of the terms, conditions, or specifications of the Response document or contract, they must be clearly stated on a separate sheet of paper attached to this sheet and returned with your Response.

Note: All potential Consultants are hereby advised that exceptions taken may be considered during the review of your bid which may affect the final decision made by the County. Consultants stipulating that the County must  use their contract or agreement may be determined non-responsive and their Response determined unacceptable.

Company Name:

Address:

(County, State and Zip Code)

Federal Tax ID#:

PHONE:

FAX:

E-MAIL ADDRESS:

Authorized Signature:                                                       Date:

Printed Name/Title:

# REQUEST FOR PROPOSAL #RFP-25-087    EXHIBIT 2 – LOBBYING RESTRICTION CERTIFICATION

EXHIBIT 2: RESTRICTIONS ON LOBBYING CERTIFICATION

Pursuant to United States Public Law 101-121, Section 319, the undersigned duly authorized official of the proposer hereby certifies, to the best of her/his knowledge and belief, that:

    - No Federal appropriated funds have paid or will be paid, by or on behalf of the undersigned, to any person for the purpose of influencing or attempting to influence an officer or employee of any agency, a Member of Congress, an officer or employee of Congress, or an employee of a Member of Congress, in connection with the awarding of any Federal contract, the making of any Federal grant, the making of any Federal loan, the entering into of any cooperative agreement, and the extension, continuation, renewal, amendment, or modification of any Federal contract, grant, loan, or cooperative agreement.

    - If any funds other than Federal appropriated funds have been paid or will be paid to any person or agency for influencing or attempting to influence an officer or employee of any agency, a Member of Congress,  an officer or employee of Congress, or an employee of a Member of Congress, in connection with this Federal contract, grant, loan, or cooperative agreement, the undersigned shall complete and submit a Standard Form-LLL, “Disclosure Form to Report Lobbying”, in accordance with its instructions.

    - The undersigned duly authorized official shall require and ensure that the language of this certification be included in any award documents for subcontracts, grants, loans, and cooperative agreements, and that all subConsultants shall so certify and disclose accordingly.

This Certification is a material representation of fact, upon which reliance was placed when this transaction was made or entered into. The submission of this Certification is a prerequisite for making or entering into this transaction, imposed by Title 31 USC Section 1352. Any proposer (person) who fails to file the required certification shall be subject to civil penalty of not less than ten thousand dollars ($10,000) and not more than one hundred thousand dollars ($100,000) for each such failure to file.

# I DO CERTIFY	I DO NOT CERTIFY

Proposer:

Signature:

Title:

Date:

# EXHIBIT 3: NON-COLLUSION AFFIDAVIT

REQUEST FOR PROPOSAL #RFP-25-087                 EXHIBIT 3 – NON-COLLUSION AFFIDAVIT

The undersigned duly authorized official of the proposer hereby certifies, to the best of her/his knowledge and belief, that:

- That I am an officer or employee of                                                          (proposing entity) having the authority to sign on behalf of the corporation, and,

- That the prices in the attached Response were arrived at independently by

(proposing entity) without collusion, consultation, communication, or any agreement, for the purpose of   restricting competition as to any matter relating to such prices with any other proposer or with any other competitor regarding an understanding, or planned common course of action with any other Consultant of materials, supplies, equipment, or service described in the RFP designed to limit independent Responses or competition; and

- That unless otherwise required by law, the contents and prices contained in the Response have not been communicated by                                                                              (proposing entity) or its employees or agents to any person not an employee or agent of                                                      (proposing entity), or its surety on any bond furnished with the Response, and will not be communicated to any such person prior to the official opening of the Response; and,

- That I have fully informed myself regarding the accuracy of the statements made in this affidavit.

# I DO CERTIFY	I DO NOT CERTIFY

Proposer:

Signature:

Title:

Date:

# EXHIBIT 4: MINIMUM INSURANCE REQUIREMENTS

REQUEST FOR PROPOSAL #RFP-25-087    EXHIBIT 4 – MINIMUM INSURANCE REQUIREMENTS

For this contract, the following provisions for insurance shall apply:

The Consultant agrees to procure and maintain, during the life of this Agreement, a policy, or policies of insurance against all liability, claims, demands and other obligations assumed by the Consultant, pursuant to Attachment A. Such insurance shall be in addition to any other insurance requirements imposed by this Agreement or by law. The Consultant shall not be relieved of any liability, claims, demands or other obligations assumed pursuant to Attachment A, by reason of its failure to procure or maintain, during the life of this Agreement, insurance in sufficient amounts, durations, or types.

The Consultant shall procure and maintain, during the life of this Agreement, for itself and shall ensure that any subConsultants procure and maintain, the minimum insurance coverages listed in Attachment A. Such coverages shall be procured and maintained with forms and insurers acceptable to the County. All coverages shall be continuously maintained to cover all liability, claims, demands and other obligations assumed by the Consultant, pursuant to Attachment A. In the case of a claims-made policy, the necessary retroactive dates and extended reporting periods shall be procured to maintain such continuous coverage. Notwithstanding the foregoing, when the Consultant requires a subConsultant to obtain insurance coverage, the types and minimum limits of this coverage may be different than those required, as stated herein for the Consultant.

- The certificate of insurance provided by the Consultant shall be completed by the Consultant's insurance agent as evidence that policies providing the required coverages, conditions and minimum limits are in full force and effect and shall be received, reviewed, and approved by The County prior to commencement of the Agreement. No other form of certificate shall be used. The certificate shall identify this Agreement and the coverages afforded under the policies. The certificate of insurance must be on file with the County two (2) weeks prior to commencement of the Agreement. The completed certificate of insurance shall be sent to:

El Paso County and

Board of County Commissioners

Attn: Contracts and Procurement Division 15 East Vermijo Avenue

Colorado Springs, Colorado 80903

- It is the affirmative obligation of the Consultant to notify the El Paso County's Contracts and Procurement Division, as provided in this Agreement, including e-mailing (PURCOI@elpasoco.com) a copy of the notice to the Contracts and Procurement Division, within two (2) business days of the cancellation or substantive change to any insurance policy required under this Agreement, and failure to do so shall constitute a breach of this Agreement.

- Failure on the part of the Consultant to procure or maintain policies providing the required coverages, conditions and minimum limits shall constitute a material breach of contract upon which the County may immediately terminate this Agreement or, at its discretion, the County may procure or renew any such policy or any extended reporting period thereto and may pay any and all premiums in connection therewith, and all monies so paid by the County shall be repaid by Consultant to the County upon demand, or the County may offset the cost of the premiums against any monies due to Consultant from the County.

- The County reserves the right to request and receive a certified copy of any policy and any endorsement thereto should such a need arise to offset a court proceeding.

- The parties hereto understand and agree that the County, its officers and employees, are relying on and do not waive or intend to waive by any provision of this Agreement the monetary limitations (presently Four Hundred Twenty-Four Thousand Dollars ($424,000) per person, and One Million One Hundred Ninety-Five Thousand Dollars ($1,195,000) per occurrence), which amounts shall be adjusted by an amount reflecting the percentage change over a four-year period in the United States Department of Labor, Bureau of Labor Statistics, Consumer Price Index for Denver-Boulder-Greeley, All Items, All Urban Consumers, or its successor index, or any other rights, immunities and protections provided by the Colorado Governmental Immunity Act, C.R.S. § 24-10-101, et seq., as from time to time amended, or otherwise available to the County, its officers or employees.

El Paso County and Board of County Commissioners must be included on the General Liability insurance as an additional insured. Certificates of Insurance must be submitted before commencing work and provide 30 days’ notice prior to any cancellation.

It shall be the responsibility of the Consultant to ensure that all subConsultants carry insurance of not less than those coverages and limits specified herein. Proper evidence of this compliance must be forwarded to El Paso County’s Contracts and Procurement Division prior to the inception of any work by subConsultant.

The undersigned certifies and agrees to procure and maintain the insurance requirements indicated above and on Attachment A throughout the contract Period of Performance.

(Name of Company)

(Signature)	(Date)

# ATTACHMENT A

INSURANCE CHECKLIST

SOLICITATION NUMBER: 25-087

TITLE OF SOLICITATION: El Paso County Stormwater Master Drainage Plan

Insurance items checked below have been identified as necessary requirements for this Contractor per the desired scope of work. EL PASO COUNTY AND BOARD OF COUNTY COMMISSIONERS SHALL BE NAMED AS ADDITIONAL INSURED ON ALL RELEVANT POLICIES.

| Insurance Item: | Required | Waived |
| --- | --- | --- |
| Contractor shall obtain and maintain, and ensure that each Subcontractor shall obtain and maintain, insurance as specified below at all times during the term of this Contract. All insurance policies required by this Contract shall be issued by insurance companies as approved by the County. | X |  |
| Workers’ Compensation: Workers’ compensation insurance as required by state statute, and employers’ liability insurance covering all Contractor or Subcontractor employees acting within the course and scope of their employment. Employers’ Liability with minimum limits as follows: $1,000,000 bodily injury for each accident, $1,000,000 each employee for disease, $1,000,000 disease aggregate. Coverage shall include a Waiver of Subrogation in favor of El Paso County and Board of County Commissioners. | X |  |
| Commercial General Liability: Commercial general liability insurance covering premises operations, fire damage, independent contractors, products and completed operations, blanket contractual liability, personal injury, and advertising liability with minimum limits as follows: $1,000,000 each occurrence; $2,000,000 general aggregate; $1,000,000 products and completed operations aggregate; and $50,000 damage to premises rented to you – any one premises. Coverage shall include Additional Insured Endorsement and a Waiver of Subrogation in favor of El Paso County and Board of County Commissioners. | X |  |
| Automobile Liability: Automobile liability insurance covering any auto (including owned, hired, and non-owned autos) with a minimum limit of $1,000,000 each accident combined single limit. Coverage shall include Additional Insured Endorsement and a Waiver of Subrogation in favor of El Paso County and Board of County Commissioners. | X |  |
| Subrogation Waiver: (When required) Contractor in relation to this contract shall include clauses stating that each carrier shall waive all rights of recovery under subrogation or otherwise against the Board of County Commissioners, El Paso County, its agencies, institutions, organizations, officers, agents, employees, and volunteers. | X |  |
| Garagekeepers Coverage: Garagekeepers coverage for loss to vehicles in the Contractors custody for servicing or storage with a minimum limit of $500,000 for each loss. Coverage shall list El Paso County and Board of County Commissioners as a loss payee. |  | X |
| Umbrella Liability Insurance: Commercial Umbrella/Excess Liability Insurance for bodily injury and property damage liability must sit over Contractor’s primary Employer’s Liability, Commercial General Liability and Commercial Automobile Liability with limits of: $1,000,000 each occurrence and aggregate. Higher or Lower limits may be required or determined acceptable at the sole discretion of County. Coverage shall include Additional Insured Endorsement and a Waiver of Subrogation in favor of El Paso County and Board of County Commissioners. | X |  |
| Cyber Liability: If Contractor’s scope of work will include access to Protected Information/Confidential Information, such as PII, PHI, PCI, Tax Information, and CJI, Contractor shall maintain Cyber/ Network Security and Privacy Liability Insurance in an amount of not less than $1,000,000 each occurrence; and $2,000,000 general aggregate to cover civil, regulatory and statutory damages, contractual damage, as well as data breach management exposure, and any loss of income or extra expense as a result of actual or alleged breach, violation or infringement of right to privacy, consumer data protection law, confidentiality or other legal protection for personal information, as well as confidential information of County. |  | X |
| Pollution Liability: If Contractor’s scope of work includes any pollution liability exposure, Contractor must provide and maintain a separate Pollution Liability Insurance policy. Such insurance shall include coverage for the Hold-Harmless or Indemnification Clause contained in this Agreement. Coverage shall include a limit of liability of no less than $1,000,000 each occurrence and aggregate. Coverage shall include Additional Insured Endorsement in favor of El Paso County and Board of County Commissioners. |  | X |
| Malpractice Insurance: Professionals to include: physicians, nurses, psychologists, etc. If Contractor’s scope of work includes the performance of professional services providing healthcare or mental health services, Contractor shall provide and maintain, for the statute of repose, Malpractice insurance covering any damages or allegations of negligence, error, or omissions in performance of the professional services with minimum limits as follows: $1,000,000 each claim; and $2,000,000 general aggregate. Coverage shall include Additional Insured Endorsement and a Waiver of Subrogation in favor of El Paso County and Board of County Commissioners. |  | X |
| Professional Liability Insurance: Professionals to include: Architects, Engineers, Construction Managers, IT Consultants/Programmers, Insurance Brokers, Accountants, Real Estate Agents, Etc.. If Contractor’s scope of work includes the performance of professional services, Contractor shall provide and maintain, for the statute of repose, Professional liability insurance covering any damages caused by errors, omissions, or negligent professional act in performance of the professional services with minimum limits as follows: $1,000,000 each claim; and $2,000,000 general aggregate. |  | X |
| Crime Insurance: If Contractor’s scope of work includes Contractor or Contractor’s employees’ involvement with money or securities of County, Contractor shall provide and maintain Commercial Crime coverage for a loss arising out of or in connection with any fraudulent or dishonest act committed by employees of the Contractor, in an amount of not less than $1,000,000 single limit. Commercial Crime Coverage shall include third party liability coverage. Coverage shall list El Paso County and Board of County Commissioners as a loss payee. |  | X |
| Builders Risk: The Contractor shall purchase and maintain All Risk Builder's Risk insurance upon the entire Project to One Hundred Percent (100%) of the insurable value thereof for the benefit of the Owner and the Contractor. Such insurance shall include any and all direct damage to all structures under construction (including temporary structures) and all materials, supplies, machinery, and equipment at the work site which are or will be incorporated in the work, which is caused by hazards such as but not limited to, the hazards of fire, lightning, wind, earthquake, flood, vandalism, malicious mischief, and other hazards included in a standard Extended Coverage Endorsement. Coverage shall list El Paso County and Board of County Commissioners as a loss payee. |  | X |

# REQUEST FOR PROPOSAL #RFP-25-087       ATTACHMENT B – SAMPLE PROFESSIONAL SERVICES  AGREEMENT

The Sample Professional Services Agreement is included in this solicitation for information and reference purposes only.

It is the responsibility of the Consultant to provide any exceptions to this Solicitation and/or Professional Services Agreement with its response for evaluation by El Paso County. It is the responsibility of the Consultant to provide the Solicitation and Sample Professional Services Agreement to their Legal Counsel for review and notation of any exceptions prior to submitting a bid.

Following the determination of award, El Paso County and the successful Consultant will execute this document to consummate a contract between the parties. The Solicitation and the Consultant’s Offer will be attached and incorporated as part of the contract.

# REMAINDER OF PAGE LEFT INTENTIONALLY BLANK